## Slide 1: On the Road to FAIR:
First Operation of AGATA in PreSPEC at GSI
Norbert Pietralla, TU-Darmstadt, & academic leader of GSI -spectroscopy group
on behalf of the PreSPEC-AGATA collaboration
DAAD
BMBF
DAAD
Thanks to M. Reese, TU Darmstadt,
for help on preparing this presentation

## Slide 2: A word to Steve on 94Zr! Recent electron scattering at S-DALINAC
Our B(E2)-ratio from (e,e’) at S-DALINAC
Steve’s new value
A. Scheikh Obeid, thesis, TU Darmstadt 2013

## Slide 3: In-beam ejectile -spectroscopy the generic challenge at RIBs
Challenges
Incoming particle selection and identification: here FRS @ GSI
v/c ≈ 0.5: large Doppler-shift of γ-radiation
High accuracy in α and θ  granular detectors
Outgoing particle identification: LYCCA
Detection of γ-radiation: AGATA
incoming particle
(Z, A, v)
target nucleus
reaction
optical axis
Doppler shifted
γ-radiation
θ
Outgoing particle
(Z’, A’, v’)
α

## Slide 4: Now: Towards HISPEC @ FAIR
NuSTAR ExperimentsNuSTAR (Nuclear Structure, astrophysics and Reactions) encompasses all experiments that will be benefiting from the unique possibilities opened up through the Super-FRS, which will deliver an unprecedented range of radioactive ion beams (RIBs). The experiments will exploit beams of different energies and characteristics at three branches; the high-energy branch utilizes the RIBs at relativistic energies (300-1500 MeV/u) as created in the production process, the low-energy branch aims at using beams in the range of 0-150 MeV/u whereas the ring branch will exploit cooled and stored beams in the storage ring NESR. These projects are gathered within the NuSTAR collaboration and shares development and other synergies across the projects.
Picture from 5. Apr 2013 (http://www.fair-center.de)
RIBs at relativistic energies:
High-Energy Branch: 300-1500 MeV/u
Low-Energy Branch: 0-150 MeV/u
Ring Branch: cooling and storing in ESR
Gamma Spectroscopy:
HISPEC / DESPEC
Dino Bazzacco, tomorrow 9 am

## Slide 5: While waiting for FAIR - HISPEC: PreSPEC @ GSI
FRS
particle selection: Bρ-ΔE-Bρ
Particle identification:
TPC tracking detectors
ToF measurement
Energy-loss measurement
LYCCA
Outgoing particle tracking and identification:
Z identification via E-ΔE
Mass identification via E-ToF
Gamma-ray detection
2011: 105 HPGe detectors (Euroball)
BaF Scintillators (HECTOR)
2012: HPGe array using pulse-
shape analysis and -ray
tracking techniques (AGATA)
BaF&LaBr scintillators (HECTOR+)

## Slide 6: One of first PreSPEC results Coulomb excitation of 104Sn
G.Guastalla et al., PRL 110, 172501 (2013)

## Slide 7: PreSPEC-AGATA in 2012
RIB from FRS
HECTOR+
AGATA
LYCCA
Set-up:
AGATA collaboration
GSI -group

## Slide 8: LYCCA Lund-York-Cologne CAlorimeter
17 silicon DSSSD detectors for tracking and energy loss
144 CsI scintillators for particle energy
3 fast plastic scintillators for time of flight and tracking

## Slide 9: LYCCA Performance
E-ΔE charge identification: ΔZ / Z ≈ 1%
E-Tof mass identification: ΔA / A ≈ 1%
different A with equal Z
ΔA/A = 0.8
A ≈ 80
Primary beam
contaminant
D.Rudolph, M.Bentley,
P.Reiter & groups

## Slide 10: Doppler-Correction of Uranium X-Rays Technical Commissioning
U beam on Gold Target:
thickness 400 mg/cm2
U velocity at Target position:
v/c ≈ 0.5
U-atoms have x-rays around 100 keV
Doppler shift to 100 – 150 keV
Doppler-
shift
correction
Au target
X-rays
Au target
X-rays
U beam
X-rays
U beam
X-rays
AGATA
Position
Information
+
LYCCA
particle tracking

## Slide 11: Doppler-Shift Correction Energy Resolution
Velocity-uncertainty dominates
Observation of X-ray radiation
Short decay time
Decay inside target
Δβ is large
U on Be

## Slide 12: Performance Commissioning Coulex and Fragmentation of 80Kr
Demonstrate performance of AGATA at relativistic beam energies
determine typical background and detection sensitivity
Obtain first data for the optimization of Pulse-Shape Analysis and Gamma-Ray Tracking algorithms in (S-)FRS conditions
Goals
0.4 mg/cm2 Au target in central position (22h, Coulex)
0.4 mg/cm2 Au target 12cm downstream of center (51h, Coulex)
0.7 mg/cm2 Be target in central position (29h, Fragmentation)
Physics Runs
80Kr
Large Coulex cross section
Reasonably long lifetime
(no decay inside the target)

## Slide 13: Complex Data Analysis
AGATA
NARVAL acquisition
FRS/LYCCA/HECTOR
MBS acquisition
Preamplifier traces
(on disk)
Pulse shape analysis
Raw Data
(on disk)
Gamma-Ray tracking
and Doppler correction
Interaction Points
(on disk)
Particle tracking
and identification
Gamma Spectrum
Experiment
(simplified)
Analysis
(simplified)
Make sure everything is
correct
Lots of parameters to
understand / optimize

## Slide 14: 80Kr gamma rays (preliminary)
Gates:
particle-gamma time
LYCCA E-ΔE
LYCCA E-ToF
gamma multiplicity <= 2
Difference between the OFT and MGT gamma
tracking algorithms
Statistics:
incident particles ≈ 92·106
part.-AGATA triggers ≈ 1.3·106
Trigger:
particle-AGATA-LYCCA
particle-HECTOR-LYCCA
One shift:
duration ≈ 8h
intensity ≈ 35k part. per spill
MGT tracking
950 counts
2.2% resolution
OFT tracking
670 counts
1.7% resolution
80Kr 21+ 01+
616.6 keV
energy [keV]

## Slide 15: Preliminary Summary of PreSPEC-AGATA performance for Coulex
Particle rate 35·103 per spill
Dead time 130 μs
LYCCA efficiency (εLYCCA) ≈ εpγ / εAGATA
AGATA efficiency (εAGATA) (work in progress)
LYCCA mass resolution 1%
LYCCA Z resolution 1%
AGATA energy resolution
after Doppler correction 1.7 % @ 616 keV
(very preliminary: results around 1.2 % have been achieved but with fewer counts in the peak)
Peak/Background Ratio ≈ 1 @ 616 keV
(very preliminary: results around ≈ 2.5 have been achieved loosing counts in the peak)
Total efficiency with
14 AGATA crystals (εpγ) ≈ 1.6 %
(detected / emitted gammas in 616 keV line of 80Kr, demonstrated, improvement on-going)
typical spill structure
rate
time
12 sec
10 sec

## Slide 16: Secondary Fragmentation Se-Isotopes
Se isotopes
Gamma spectrum:
gated on Se isotopes
no LYCCA mass identification

## Slide 17: Experimental Campaign 2012
S424 Performance Commissioning
S429 Pb-region Coulex
       Poster NS 209: L.G.Sarmiento et al.)
S426 Br M1-Coulex (FRS setup + 1 shift)
S430 64Fe Pygmy
S433 52Fe Coulex
S428 n-rich Zr-region (lifetimes)
S431 132Sn 1p-knockout
S427 70Kr, Tz=-1, isospin symmetry, 2n-knockout
S434 A=46 isospin-triplet, Coulex / differential plunger

## Slide 18: People
T. Arici, P. Boutachkov, M. L. Cortes, A. Givechev, N. Goel, E. Gregor,
G. Guastalla, T. Habermann, N. Lalovic, E. Merchan, S. Pietri, D. Ralet,
M. Reese, P. P. Singh,
J. Gerl, M. Gorska, I. Koujoharov, H. Schaffner, H. J. Wollersheim,
D. Bazzaco, W. Korten, D. Rudolph, O. Wieland,
and many more from AGATA collaboration…
Blue = TU Darmstadt-members of GSI -group
DAAD
BMBF

## Slide 19: Summary
PreSPEC @ GSI: “first feeling for FAIR” (HISPEC)
 The ultimate need for gamma-tracking
AGATA set up at GSI-FRS S4
performance commissioning done, analysis on-going
 development of tools and experience for HISPEC
4 “production experiments” done, analyses started
… looking forward to FAIR / NUSTAR …