## Slide 1
La Domande Fondamentali “away from Stability”
Numeri magici, limiti esistenza nucleare, numeri quantici, r-process…
Esempi di studi (Milano)
1. Accoppiamento particella-Vibrazione
2. Transizione Ordine-Chaos
3. Pygmy Resonances
4. b-decay e processo r
Apparati Sperimentali
1. Array di Ge: AGATA
2. Array di Scintillatori (LaBr3 e BaF2)
3. Ancillari
Collaborazioni e Laboratori
GRIII - Gamma
Struttura nucleare in condizioni estreme
con spettroscopia g e particelle cariche

## Slide 2
Moving Away from the Stability Valley
EXOTIC NUCLEI
Limit of Nuclear Existence ?
Robustness of Magic Numbers ?
Validity of Quantum Numbers (K, …) ?
Change in Structure due to n-excess ?
b-decay and r-process path location ?
Z
N
interaction among nucleons
… effective nuclear force
 SYSTEMATICS is NEEDED
248 Stable
3000 discovered
> 6000 expected

## Slide 3
Comment to Nature,
by M. Thoenessen and B. Sherrill
5 M AY 2 0 1 1 | VO L 4 7 3 | N AT U R E | 2 5
In occasion of Rutherford centennial 2011
Radioactive Beams !

## Slide 4
Key technological Aspects:
New Beams
Exotic or Stable with high intensity
Advanced Detection Systems
for g spectroscopy:
New Generation Ge Array (AGATA) + Ancillaries
+ Spectrometers
LaBr3 (Milano)
AGATA @ GSI
FRS @ GSI

## Slide 5
Evolution of Shell Structure
Nucleons generate their own potential
Quantum effects -> shell gaps, magic numbers
Mean field potential: V= HO + L2 + LS
(Haxel, Goppert Mayer 1949)
L.S
+
f7/2
d3/2
20
d5/2
p1/2
s1/2
p3/2
f5/2
28
40
g9/2
50
14
H.O
L2
+
1d
1f
2s
2p
20
N=2
N=3
1g
2d
40
20
N=1
8
8
40
82
8
Far from stability:
- New Magic Numbers
- New Shell Closures
@ Stability Valley
16
1d3/2
2s1/2
n
1d5/2
1f7/2
2p3/2
Collapse N= 20
& N=28 gaps
@ Drip line
First excited state
… effective
nuclear force

## Slide 6
1. MILANO: Robustness of SHELL Closure
Coupling between
Particle and Vibrations
is NOT included in SHELL Model
Large Basis Shell Model (LB-SM)
Correlations among valence nucleons
excited core
(phonon)
Coupling between
Particle and Phonon
Key Ingredient for:
Anharmonicity of vibrational spectra
Damping of Giant Resonances
Quenching of Spectroscopic Factors, …
Research Program in Milano (with Colò and Bortignon):
Coupling with 1 particle
- effective single particle levels
- coupling strength
Coupling with 2 particles
- core + 2 particles model
- physics of pairing

## Slide 7
Heavy-Ion multi-nucleon transfer Reaction
48Ca+64Ni @ 6MeV/A (LEGNARO)
Ge Array (CLARA) + Spectrometer (PRISMA)
D. Montanari, S. Leoni et al., PLB697(2011)288
D. Montanari, S. Leoni et al., PRC85, (2012)044301
Angular distributions
Polarizations
Lifetimes
to firmly
establish
Ip and B(E/Ml)
Systematic Study around magic nuclei: Ca, Ni, Sn, …
S. Leoni, A. Bracco, …
48Ca
(Z=20,N=28)
Preparatory work for RIB facilities
SPES, SPIRAL2, ISOLDE, …
Plunger
lifetime
t ≈ 1/B(E,Ml)

## Slide 8
Systematic investigation of Particle-Phonon
coupled states
Under Analysis:
65,67Cu  64,66Ni + 1p
7Li+64Ni (Tandem Lab. Bucharest)
ROSPHERE Ge Array+ LaBr3
49,47Ca  48,46Ca + 1n
Cold n + 46,48Ca (Reactor ILL, Grenoble)
Exogam/GASP Ge Array + LaBr3
210Bi  209Bi + 1n
Cold n + 209Bi (Reactor ILL, Grenoble)
Exogam/GASP Ge Array + LaBr3
1 and 2 nucleons around 132Sn
Cold n + 235U and 241Pu (Reactor ILL, Grenoble)
Exogam/GASP Ge Array + LaBr3
 LOI for HIE-ISOLDE, SPIRAL2, SPES, …
Around
Doubly Magic 132Sn
G.Colò and P.F.Bortignon
131In
proton
hole states

## Slide 9
Change of Structure due to n-excess
2. MILANO: Collective dipole modes  pygmy resonances
n excess vs inert core
E1 strength shifted
towards low energy
GDR
PDR
exp
+pygmy
Theory
101
100
10-1
10-2
10-3
10-4
10-5
10-6
A
80 90 100 110 120 130 140
Relative Abundance
S. Goriely, Phys. Lett. B 436 (1998) 10
IVGDR
Important Astrophysics Implications
Neutron Pressure from SKIN
Info on Esym
EOS of nuclear matter
Neutron Pressure:
extrapolation for 208Pb from different
measurements
(including pygmy in 68Ni and 132 Sn )
 Neutron stars
Element Abundance in the Universe

## Slide 10
Systematic investigation of Pygmy Resonances
Bracco, O. Wieland, F. Camera, B. Million, …
EXOTIC NUCLEI:
Relativistic Coulomb Excitation
2005:
68Ni (600 MeV, 103 pps) + 197Au
GSI Laboratory (@Fragment Separator)
RISING Ge Array+ 8 BaF2
2012:
64Fe (400 MeV, 103 pps) + 208Pb
GSI Laboratory (@Fragment Separator)
AGATA Ge Array+ 8 BaF2+ 10 LaBr3
First Part: Autumn 2012
 Remaining: 2013-2014
70,72Ni (260 MeV, 104-103 pps) + 208Pb
RIKEN Laboratory (@BigRips)
BaF2 Array DALI2+ 8 LaBr3
 To be rediscussed June 2013
5-9 % EWSR
T.Aumann et al EPJ 26(2005)441
O.Wieland et al. PRL 102, 092502 (2009)
68Ni
LaBr3
AGATA at GSI

## Slide 11
Study the Evolution of the PDR strength in Ni isotopes
BaF2
Dali2+LaBr
SHOGUN
PHYSICAL REVIEW C 75, 054320 (2007)
Jun Liang, Li-Gang Cao and Zhong-Yu Ma
Cao, Ma, Modern Phys. Lett. A19(2004)2845
BU
%EWSR
Centroid
position
DALI2
NaI
e=4%
@ 10 MeV
Milano LaBr3
e=1-2%
@ 10 MeV
RIKEN
Beam

## Slide 12
Strong Debate: substructure of pygmy states ?
D. Savran et al. PRL97,172502(2006)
The pygmy resonance
splits in two parts :
1- one excited both
in (γ, γ’) and in (α,α’γ)
2- the other excited only in (γ, γ’)
Microscopic nature
of excited states
STABLE NUCLEI:
(g,g’) and (a,a’g) reactions

## Slide 13
AGATA
at LNL
Eg = 4085 keV
Eg = 5512 keV
Pygmy Resonance in 208Pb, 124Sn and 140Ce
Bracco, F. Crespi, …
Inelastic Scattering 17O at 20 MeV/u
Detailed Investigation
Strength
Multipolarity
EM Character
E1
E2

## Slide 14
b-decay and r-process location
3. MILANO: n-rich region of Pb and Ni
b-decay half-lives
- neutron emission probabilities
different in DEFORMED and SPHERICAL nuclei
tb SPH ~ 10 x tbDEF
PnSPH ~ 0.5 x PnDEF
 Large uncertainty in r-process location
 difficoulty to extrapolate to more exotic regions
Importance of Nuclear Structure studies
in the vicinity/towards r-process path:
… first excited states
… Isomeric states
… b decay lifetimes

## Slide 15
Are 70-72Fe deformed or g-soft?
If deformed, are there any high K isomeric states ?
Sistematic investigation of b-decay and b-g correlations
G. Benzoni, A. I. Morales, …
GSI experiment (n-rich Pb):
238U (1GeV/u MeV, 3x109 pps) + 9Be
@Fragment Separator
RISING Ge Array+ DSSSD active stoppers
Theory underestimates experiments
RIKEN experiment (n-rich Fe)
May 2013:
238U (345 MeV/u MeV, 3x109 pps) + 9Be
@BigRips
EURICA Ge Array+ DSSSD active stoppers
G. Benzoni et al. PLB715,293(2012)

## Slide 16
Validity of Quantum Number with T
4. MILANO: weakening of selection rules on K
S. Leoni, A. Bracco, G. Benzoni, …
K
chaotic
regime
Bn
Yrast Line
CN
n
g
(E,I,
p
)
Spin
E*[MeV]
8
1
MF
MF+Vint
Bn
Yrast Line
CN
n
g
(E,I,
p
)
Spin
E*[MeV]
8
1
g -flow
50Ti + 128Te
 174W + 4n
Global properties of g-decay flow
from warm collective rotation
K-hindrance from E1 decay of
all discrete excited bands
Transitions with DK > λ
are strongly hindered
 ISOMERS
T. Døssing et al., Phys. Rep. 268 (1996)1
Weakening due to mixing among states (high level density)

## Slide 17: Experimental setup: AGATA + HELENA
V. Vandone, S. Leoni, … (Milano University an INFN)
HELENA:
27 detectors: 5 clusters of BaF2 (3”×3”, exagonal)
Total solid angle: 25% of 4π Total efficiency: 16% @ 500keV
AGATA
4 Triple Clusters
2 and 3 folds:
e2g=30%, e3g=10%
(Mg = 30)
Experiment performed in July 2010 at Laboratori Nazionali di Legnaro
Notes: The reaction used to populate the 174W nucleus was titanium50 on tellurium128. The main evaporation residua were 174 tungsten and tungsten 173, approximately with the same cross section
Close to the yrast, the nucleus behaves as an ordered system with well-define quantum number and their selection rules, while as the internal energy increase a gradual transition into chaos takes place, and q-n and selection rules lose their meaning.
A useful probe to study the evolution of selection rules is the K-quantum number, namely the projection of the total angular momentum on the symmetry axis. Close to the yrast K is a well-defined quantum number, and low-k and high-k bands flows are well-distinguished. As the internal energy increase statistical k-mixing processes take place that depends on the high density of the states.
The transition into chaos can be studied by the analysis of 2-dimensional g-g coincidence spectra, built on specific gamma transition. (AGATA fold distribution is peaked around 3, that is fundamental to build gated g-g matrices).
The experiment performed last July @ LNL. The experimental set-up was composed by the AGATA Demonstrator coupled with an array of 27 BaF scintillators named HELENA.
The goal of our experiment is in particular the statistical analysis of the ridge-valley structure to study the order- to-chaos transition and to evaluate the number of low-K and high-K bands and their correlation. Since we have used backed target, we want also to deduce the lifetime of the excited rotational bands, to test the deformation stability with temperature. As by-product of the experiment we want to study the trend of the GDR width of the W compound nucleus. Finally we can study AGATA response to high-energy gamma rays by testing n-gamma discrimination method developed by the Turkish group of Ankara and the use of PSA techniques to improve time resolution.

## Slide 18
> 750 Participants
Among Plenary Talks
Shell evolution and nuclear forces
Results from FRS and relativistic RIB at GSI
Nuclear structure with gamma-ray tracking arrays (AGATA)
Direct reactions with exotic nuclei
World new facilities for radioactive ion beams
Exploring nuclear structure with deep-inelastic heavy-ion collisions
Imaging devices for medicine and security
…
9 Parallel Sessions
(6 for Nuclear Structure and Nuclear Reactions)
> 40 Invited talks from “Our” Community

## Slide 19
Advanced Detection Systems
for g spectroscopy:
New Generation Ge Tracking Arrays (AGATA/GRETA)
Ancillaries (Scintillators, Si telescopes, …)
Spectrometers/Fragment Separators

## Slide 20: Long Range Plan 2010 Recommendations and priorities

## Slide 21
AGATA Managing Board
AGATA Steering Committee

## Slide 22: First Step of AGATA: The AGATA Demonstrator Objective of the final R&D phase 2003-2011
1 symmetric triple-cluster
5 asymmetric triple-clusters
36-fold segmented crystals
540 segments
555 digital-channels
Eff. 3 – 8 % @ Mg = 1
Eff. 2 – 4 % @ Mg = 30
Full ACQ with on line PSA and g-ray tracking
Test Sites:
LNL, GANIL, GSI, Köln, …
9 th April 2010: official inauguration at LNL
W  1/3 p - 2/3 p
Full involvement of LEGNARO NATIONAL LABORATORY and GAMMA
Notes: Powerful array in its own right
Still to decide where to site
Still to decide the key test experiments

## Slide 23: AGATA: a Gamma Tracking Array
Pulse Shape Analysis to decompose recorded waves
Highly segmented
HPGe detectors
·
·
Identified
interaction points
(x,y,z,E,t)i
Reconstruction of tracks
evaluating permutations
of interaction points
Digital electronics
to record and process segment signals
1
2
3
4
Reconstructed
gamma-rays
Notes: What has to be done to perform tracking
What are the ingredients
Detectors highly segmented, encapsulated, cryostats
Electronics Digital
PSA to extract Energy Time and Position
Algorithm development particularly for position
Area where effort is required Thorsten Kroell. See him.
Tracking algorithms, reconstruction of the events for full array
Obtain full energy
Many technical development in all areas.

## Slide 24
9th April 2010 – Legnaro National Laboratory INFN

## Slide 25
FROM INFN BOOKLET

## Slide 26: From the Demonstrator to AGATA 1p Plans for the next few years
LNL: 2010-2011 15 crystals (5TC)
Total Eff. ~6%
GSI: 2012-2013 25 crystals (5DC+5TC)
Total Eff.~10%
GANIL: 2014-2015 45 crystals (15 TC)
Total Eff. ~15%
AGATA+VAMOS
“backward”
EXOTIC ISOL BEAMS
& STABLE HIGH INTENSITY
Demonstrator + PRISMA
“backward”
STABLE BEAMS
AGATA + FRS
“forward”
RELATIVISTIC
EXOTIC BEAMS

## Slide 27: Coulex of 80Kr beam
One shift = 8h
incident particles ≈ 92·106
part.-AGATA triggers ≈ 1.3·106
Harsh background condition
MGT tracking
950 counts
2.2% resolution
OFT tracking
670 counts
1.7%resolution
80Kr 21+ 01+
616.6 keV
energy [keV]
GSI: Performance of AGATA at relativistic beam energies
N. Pietralla,
invited talk at INPC2013
LNL: Performance of AGATA at v/c ≈ 20%
v/c ≈ 50%
17O (340 MeV) + 208Pb
Projectile-like (16O, v/c ~20%)
  > 500 keV @ 5 MeV

## Slide 28
Impegno GAMMA-Milano in AGATA
FINANZIARIO/COMITATI DI GESTIONE APPARATO
OFFICINA (B. Million)
- camera di scattering AGATA@LNL
- telescopic beam line
- flange AGATA@LNL
- Meccanica Ancillari @LNL e GSI
ELETTRONICA e ACQ
- A.Pullia: preamplificatori e digitalizzatori AGATA
- S. Brambilla: sistema AGAVA (AGATA-VME adapter) per sincronizzazione
tra ancillari VME e digital electronics di AGATA
ANCILLARI
- C. Boiano: preamplificatori e amplificatori per telescopi Si tipo pixel (TRACE)
- F. Camera, S. Riboldi, C. Boiano: Elettronica per Scintillatori BaF2 e LaBr3
PSA e TRACKING
- F. Camera, F. Crespi: algoritmo “recursive subtraction” (punto di interazione e n. hits in segmento)
- F. Crespi: metodo sperimentale veloce per caratterizzazione posizionale rivelatori a Ge di AGATA
CASI FISICI
- 5 esperimenti svolti a LNL
- 1 esperimento svolto (in parte) a GSI
- 2 LOI per AGATA@GANIL
Shell di 15 flange
26cm
spessore cameretta: 2mm
basso assorbimento
vuoto 10-6

## Slide 29
Milano triple segment and core preamplifiers for AGATA
Back view
Front view
Front view
Back view
Milano pre for GALILEO
Front view
Back view
Milano digitizers AGATA/GALILEO
Thanks to A. Pullia
A. Pullia

## Slide 30
Milano: long tradition of R&D
for Scintillator Detectors
(large Volume)
Started by A. Bracco, F. Camera, …
1980’s: HECTOR+HELENA @NBI
HECTOR:
8 big (14cm x 18cm) BaF2 crystals
Time resolution <1 ns
Energy resolution = 11%
HELENA
(multiplicity filter
and start signal):
38 small BaF2
Time resolution  500 ps
Giant Dipole Resonance from
Compound Nucleus Reactions
BaF2

## Slide 31
HECTOR at NBI
14cmx18cm
A. Bracco, F. Camera,
A. Maj, J.J. Gaardhøje, …
1980’s
BaF2
HECTOR + EUROBALL
LNL-STASBOURG
HECTOR + GARFIELD:
LNL
HECTOR + RISING: GSI
HECTOR + AGATA:LNL//GSI
2011-2012
HECTOR at LNL

## Slide 32
In Milano:
R&D
For top level performances
of Large Volume LaBr3 for
Basic research with
High-energy g-spectroscopy
Applied research
( medical imaging)
with PoliMi (C. Fiorini)
2005: LaBr3 from Saint Gobain
More Recently
Available in Large Volume
with performances:
Energy Resolution ~ 3 % at 662 keV
Time Resolution ~ 0.5 ns
Linearity good
Density 5.2 g/cm3
Z(I) 57
Large Crystals (3.5” x 8”)
high efficiency
small 1EP (with collimator)
No 2EP
No Sensitivity to neutron damage
Easy Handling
PMT non idealities
Rather High Costs
very fast signal
Rise time 25 ns
Fall time 60-80 ns
 Total 100 ns
 count rates up to 1 MHz
L.Y.  63 ph/keV
Decay Time  16 ns
l  380 nm, N  1.9
BaF2
NaI
LaBr3

## Slide 33
HECTOR+ Array:
10 large (9x20 cm) LaBr3(Ce)
8 large (14x17 cm) BaF2
36 small BaF2
Main Use:
Standalone
Coupled with Ge, …
Campaigns:
AGATA@LNL
AGATA@GSI
OSLO

## Slide 34
Characterization of Large Volume
LaBr3:Ce Detectors
Rise time
Pulse line-shape
Count Rate
Pulse distortion with g-rays energy
Linearity in energy
Energy resolution and NON homogeneity
High energy gamma rays
Efficiency
 Tests with Sources and in-beam
Development of dedicated electronics devices: S. Brambilla, S. Riboldi: VME board for sampling (100 MHz, 14bit)
and digital data treatment
C. Boiano, F. Camera: BaFPro Nim Module for PSA
C. Boiano, S. Brambilla, S. Riboldi: Active Voltage Divider
… requested by collaborators: PARIS collaboration, Oslo, …
DEg
Eg
Milano Digital Electronics
p+7Li -> 8Be
target LiBO2

## Slide 35
Pulse Shape Analysis
with LaBr3:Ce and LaCl3:Ce
BaFPro Nim module
16 channels of Shaping amplifier
16 channeld of CFD
16 Channer of peak stretcher for BaF2 Fast component
Fast vs Slow in a 2”x3” BaF2 detector
Fast vs Slow in a 3”x3” LaBr3:Ce
detector
alpha
alpha
g
g
C. Boiano, F. Camera, …

## Slide 36
Active voltage divider PCB (bottom side, showing protecting diodes)
Adapter PCB (to fit to different PMT sockets)
The two PCBs coupled together
(top side of VD, showing main electronics:
BJTs, MOSFETs, etc.)
Milano Active Voltage Divider for Large Size LaBr3 ( S. Riboldi, S. Brambilla, C. Boiano)
Test with High Count Rate
Digitized signals and offline analysis with integration algorithm
Significant gain drift
≈ 40 keV
NO gain drift 
- 5 keV
due to PMT temperature increase
PASSIVE
Hamamatsu
ACTIVE
In house

## Slide 37
Applied Research with PoliMI (C. Fiorini, A. Giaz, …)
position sensitivity with LaBr3 detector (25 mm x 25 mm)
and SDD matrix (no PMT).
Collimated beam (1mm) of 661 keV
Source position
Reconstructed with
Simple algorithm
2014: rivelatore
di maggiori dimensioni

## Slide 38
Present Big Commitment: GALILEO @ LNL
1992-GASP: 20 years of operation
30 march 2012: official shutdown
GALILEO:
GASP and EUROBALL detectors
Fully Digital Electronics
eph = 8%
P/T = 50 %
Dedicated WS 10-12 June 2013

## Slide 39
Impegno GAMMA-MI in GALILEO
OFFICINA
in corso: camera di scattering (in costruzione)
?? Adattatori Rivelatori GASP a 90°
?? movimentazione meccanica TRIPLETTI Ge (ex-EUROBALL)
Imaging Gamma: Lavorazioni meccaniche (10 gg)
ELETTRONICA e ACQ
in corso (A.Pullia): preamplificatori e digitalizzatori GALILEO (AGATA)
?? S. Brambilla: sistema AGAVA (AGATA-VME adapter) per sincronizzazione
tra ancillari VME e digital electronics di GALILEO
ANCILLARI
?? Supporto integrazione
Si Telescopes EUCLIDES, Scintillatori, Recoil Filter Detector, …

## Slide 40
GALILEO Preamplifier
The new preamplifier has been tested in Milano and at LNL with a GASP detector in conjunction with an IF1320 input FET.
The obtained resolution is excellent.
2.09 keV
60Co spectrum

## Slide 41
PS module, backplane
Valencia
AGATA and GALILEO Digitizer
Pre-processing Card
Padova
GTS
link
fibers
Clock-Distribution
and Control Unit
Padova
backplane
backplane
PS Module, backplane, cooling (under development)
48V
500 ps
Eye diagram @ 2Gb/s
backplane
MDR cables
3 Segment ADC Modules
(12 channels each)
Milano
Core ADC
Module
Milano
Workstation
PCIe expansion box

## Slide 42
Spectrum from small front electrode of MARS detector
We have just received an AGATA detector crystal
for full qualification of the Digitizer

## Slide 43
Gruppo GAMMA-Milano (a consuntivo 2012)
Pubblicazioni GAMMA-MI 2012
17 su rivista (di cui 1 PRL, 7 PRC, 2 PLB, …)
20 su atti di conferenze
Nel 2011: 18 articoli, 22 atti di conferenza
Conferenze GAMMA-MI 2012
39 talks (di cui 17 invited)
13 poster a conferenze
Nel 2011: 33 talks
Tesi 2012
15 Triennale/Magistrale
1 PhD
Nel 2011: 17 tesi
Milano ≈ 43 % FTE
24 persone (35 %)

## Slide 44
Dottorandi:
R. Avigo: Pygmy study in 64Fe, AGATA@GSI data
S. Bottoni: n-rich Sr, Zr and Y nuclei with A=100, ISOLDE data
S. Ceruti: Isospin Mixing in 80Zr, AGATA@LNL data
L. Pellegri: Pygmy study in stable 124Sn and 208Pb, AGATA@LNL data
Assegnisti:
Giaz: Imaging Gamma e Dynamic dipole Resonance, GARFIELD@LNL data
A. I. Morales: b-decay study in n-rich Fe, RIKEN data

## Slide 45
A. Bracco:
Chair dell'International Advisory Panel del Progetto HIE-ISOLDE
Membro del comitato Scientifico di RIKEN
Membro del Scientific Committe per i laboratori GSI
Membro dell’AGATA Steering Committee
S. Brambilla:
Conveener del Task2 - Working Group 2 European Gamma and Ancillary Detectors Network (EGAN)
F. Camera:
Membro Rising/Prespec Steering Committee;
Membro Comitato Scientifico della Scuola INFN sui rivelatori innovativi (SNRI).
Coordinatore del Work Package 4 del progetto Nupnet GANAS
S. Leoni:
Membro dello Steering Committee di EXOGAM
Membro PARIS Steering Committee
B. Million:
Team Leader Infrastructure Working Group AGATA
A. Pullia:
Team leader pre-amplifier group AGATA collaboration
O. Wieland:
Member of steering group of SUNFLOWER collaboration @ RIBF / RIKEN
Leaderships
GAMMA-MI
2012

## Slide 48
nuclear structure
at the limits of
spin,temperature, isospin
accelerators
+
detectors
Exotic beams
g-arrays
GSI/RIKEN: exotic beams
EX-EUROBALL + scintillators + Si
ND 1.3:1
SD 2:1
HD 3:1
SPIN
50
100
0.2
50
Energy
(MeV)
EUROBALL/AGATA
T=2-4 MeV
LNL: Stable Heavy Ions
AGATA + scintillators + Si
n excess vs inert core
PYGMY
Resonances
ISOSPIN
(N-Z)/A
T = 0 MeV
T<0.5 MeV
Order-to-Chaos
New Isomers, b-decay,
r-process

## Slide 49
Experimental Signature
3/2+
9/2+
3/2- 0.0
0+ 0.0
7/2+
3- 4.507
5/2+
E [MeV]
2
3
4
0
48Ca
B(E3)
6.8 ± 1.0 Wu
3-  p3/2
7 Wu
49Ca
Multiplet of States: |l-j|  I  l+j
B(El) of phonon
Energy Split:
Coupling strength
Nuclear Force
48Ca
(Z=20,N=28)

## Slide 50
Betty Tsang
Summary of the NuSYM11 International Symposium on Nuclear Symmetry Energy
is related to Po, the pressure from the symmetry energy for pure neutron matter at So
Neutron pressure from the skin
…from different measurements … extrapolation for 208Pb
(including pygmy in 68Ni and 132 Sn )

## Slide 51
Flange Design
(Daresbury Laboratory)
controllo delle specifiche
Daresbury (CMM machine)
48 dimensioni
tolleranza < 0.3 mm
< 0.05°
Shell di 15 flange di AGATA
Metà 2006 – maggio 2008:
lavorazione e montaggio terminati

## Slide 52
Camera di scattering per AGATA Demonstrator
su spettrometro PRISMA
Lavorazione Meccanica
INFN-Milano
spessore cameretta: 2mm
basso assorbimento
vuoto 10-6
17 mesi di lavoro di tutto il servizio
DANTE
Array
supporto
PARTEC
Costi: 8k€ (progettazione) + 2k€ (materiale)
 Vecchio progetto CINEL: 8k € + 25 k€
26cm

## Slide 53
beam
PRISMA
MCP
PRISMA
start detector
Telescopic beam line per AGATA Demonstrator
su spettrometro PRISMA
gennaio 2007 – maggio 2008:
lavorazione e montaggio terminati

## Slide 54
35 detectors Helena array:
BaF2 exagonal scintillators 3”x3”
15 cm from target
W = 57% of 4p
Total eff. e ~ 35%
electronics: AGAVA interface
AGATA detectors @ 23 cm (e ~ 3%)
 @ 14 cm (e ~ 6%)
Design Study for
Multiplicity Filter couppled to
AGATA Demonstrator @ LNL
B. Million,
Simulations & Ancillary detectors

## Slide 55
Pulse Shape Analyisis e tracking in HPGe (F. Crespi, F. Camera)
Sviluppo di un algoritmo (Recursive Subtraction*) per determinare
posizione e numero di interazioni in un segmento
testato su dati acquisiti in test sotto fascio di rivelatori HPGe segmentati**
Nuovo Metodo Sperimentale per estrarre la risposta posizionale di rivelatori HPGe***:
permette di realizzare l’intero scan di un rivelatore in ~ 1 settimana
ordini di grandezza più rapido dei metodi standard basati su misure in coincidenza!
*F.C.L. Crespi et. Al. NIMA 570(2007) 459-466 and **F.C.L. Crespi et. Al. NIMA to be submitted
***F.C.L. Crespi et. Al. NIMA 4815 to be published
No correction
Segment
9.4 keV
PSA
8.2 keV
48Ti + 2H  49T*
v/c6%
# interazioni
Selected for invited Talk IEEE Dresda October 08

## Slide 56
Sistema ACQ Ancillari di AGATA
S. Brambilla
sviluppo scheda AGAVA (AGATA VME adapter)
per sincronizzazione Ge array & ancillary (HECTOR, DANTE, PRISMA, RFD, …)
- Sviluppo hardware scheda:
Istituto di Cracovia
- Contributo Italiano:
PD, Bellato: GTS Mezzanine
Mi, S. Brambilla:
- implementazione FIRMWARE
- modalità di gestione
- read-out e integrazione AGAVA
con modulistica di Front-End
(TDC – ADC- QDC – SCALER)

## Slide 57: Coulex and Fragmentation of 80Kr beam
Gates:
particle-gamma time
LYCCA E-ΔE
LYCCA E-ToF
gamma multiplicity <= 2
Difference between the OFT and MGT gamma
tracking algorithms
Statistics:
incident particles ≈ 92·106
part.-AGATA triggers ≈ 1.3·106
Trigger:
particle-AGATA-LYCCA
particle-HECTOR-LYCCA
One shift:
duration ≈ 8h
intensity ≈ 35k part. per spill
MGT tracking
950 counts
2.2% resolution
OFT tracking
670 counts
1.7% resolution
80Kr 21+ 01+
616.6 keV
energy [keV]
GSI: Demonstration of performance of AGATA at relativistic beam energies (v/c ≈ 50%)
N. Pietralla, invited talk at INPC2013

## Slide 58
Projectile-like (16O, v/c ~20%)
  > 500 keV @ 5 MeV