## Slide 1: PMT charge measurements: - pedestal subtraction and signal decompression - results using decompression tables

## Slide 2
NEMO-Phase2 PMT signal is sampled by using two 8 bits ADCs (ADC-A, ADC-B), with 100 MHz samplings, and sampling times “staggered” by 5 ns.
In order to increase the ADC input “dynamics” the PMT signal is “compressed” with a quasi-logarithmic law:
  low voltage signals are sampled with high accuracy (up to few s.p.e.)
  high voltage signals are sampled with lower accuracy.
As a consequence:
  the real PMT’s pulse can be obtained only “inverting” the compression law (i.e. converting ADC-channels into Charge)
  the conversion law must be known for each ADC (A and B) and for each “working Temperature”.
This is provided by the “Electronics group” (F. Ameli, C.A. Nicolau, F. Simeone) as results of the FEM detailed calibration as a function of the FEM temperature.

## Slide 3
Generation date: Fri May 10 15:11:22 2013
Fem ID: 1
Temperature: 24.400000
Pedestal Channel A = 5.001452
Pedestal Channel B = 5.000852
Number of points in source decompression table = 272
Number of points in resampled decompression table = 256
ADC Value Channel A Channel B
0 0.000128 0.000099
1 0.000093 0.000065
2 0.000082 0.000055
3 0.000047 0.000045
4 0.000035 0.000035
5 0.000000 0.000000
6 -0.000010 -0.000010
7 -0.000024 -0.000023
8 -0.000058 -0.000033
9 -0.000069 -0.000065
10 -0.000102 -0.000075
11 -0.000110 -0.000081
12 -0.000142 -0.000113
13 -0.000149 -0.000142
14 -0.000176 -0.000145
15 -0.000200 -0.000172
16 -0.000198 -0.000195
ADC value NO
PED subtraction
ADC input
Current [A]
channel A
multiply this number (current, [A]) for the sampling time 5*10-9 s to obtain the charge [pC]
The first table delivered by C.A. Nicolau

## Slide 4
ADC value NO
PED subtraction
ADC input
Current [A]
channel A
multiply this number (current, [A]) for the sampling time 5*10-9 s to obtain the charge [pC]
Generation date: Tue Jun 11 18:52:09 2013
Fem Serial Number: 1
Temperature: 24.400000
Pedestal Channel A = 5.001452
Pedestal Channel B = 5.000852
Number of points in source decompression table = 272
Number of points in resampled decompression table = 256
ADC Value Channel A Channel B
0 0.000093541838 0.000087413008
1 0.000074838883 0.000069933386
2 0.000056135951 0.000052453762
3 0.000037433020 0.000034974139
4 0.000018730088 0.000017494516
5 0.000000000000 0.000000000000
6 -0.000018605194 -0.000017242664
7 -0.000037374813 -0.000034766861
8 -0.000056159974 -0.000052304636
9 -0.000074710234 -0.000069852048
10 -0.000093762377 -0.000087911869
11 -0.000112332381 -0.000106226423
12 -0.000130913808 -0.000124301698
13 -0.000149738933 -0.000142885047
14 -0.000168560832 -0.000161218197
15 -0.000186887081 -0.000180047099
16 -0.000204706148 -0.000198380298
Part of the decompression table
for FEM n. 1
F. Ameli, C.A. Nicolau, F. Simeone

## Slide 5
ADC channel
Charge [pC]
Charge [pC]
ADC channel
… using the first decompression table

## Slide 6
PMT 1 – ADC_A
Black new conversion table
Red old conversion table
≈16 pC: ≈ 2p.e.
[ pC ]
[ ADC channel]
charge
[ pC ]
charge

## Slide 7
PMT 1 – ADC_B
Blue new conversion table
Green old conversion table
[ pC ]
[ ADC channel]
charge
[ pC ]
charge

## Slide 8
PMT 3 – ADC_B
Blue new conversion table
Green old conversion table
[ pC ]
[ ADC channel]
charge
[ pC ]
charge

## Slide 9
Run 499_file 0 (after adjusting the PMTs HV searching for p.h. uniformity)
Floor 1
… using the first decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 10
Run 499_file 0 (after adjusting the PMTs HV searching for p.h. uniformity)
Floor 1
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 11
Run 499_file 0 (after adjusting the PMTs HV searching for p.h. uniformity)
Floor 2
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 12
Run 499_file 0 after adjusting the PMTs HV searching for p.h. uniformity
Floor 3
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 13
Run 499_file 0 after adjusting the PMTs HV searching for p.h. uniformity
Floor 4
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 14
Run 499_file 0 after adjusting the PMTs HV searching for p.h. uniformity
Floor 5
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 15
Run 499_file 0 after adjusting the PMTs HV searching for p.h. uniformity
Floor 6
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 16
Run 499_file 0 after adjusting the PMTs HV searching for p.h. uniformity
Floor 7
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 17
Run 499_file 0 after adjusting the PMTs HV searching for p.h. uniformity
Floor 8
… using the last decompression table
[ pC ]
[ pC ]
[ pC ]
[ pC ]

## Slide 18
 | <charge> [pC] | rms [pC] | <charge> [pC] | rms [pC] | <charge> [pC] | rms [pC] | <charge> [pC] | rms [pC]
Floor1 | 8.9 8.6 | 3.7 4.5 | 8.1 8.3 | 2.5 2.9 | 8.1 8.4 | 3.5 3.2 | 8.1 8.3 | 2.4 3.0
Floor2 | 10.8 10.7 | 4.2 4.4 | 8.1 7.2 | 3.0 4.0 | - - | - - | 9.4 9.5 | 3.8 3.9
Floor3 | 9.3 8.7 | 3.3 3.5 | 9.3 8.3 | 3.1 3.6 | 8.1 7.7 | 3.1 3.1 | 7.9 7.8 | 3.4 3.9
Floor4 | 7.8 7.4 | 2.7 3.0 | 6.6 5.8 | 2.7 3.1 | 8.1 5.8 | 3.4 3.9 | 8.6 8.1 | 3.4 4.2
Floor5 | 10.6 10.2 | 3.9 4.7 | 8.4 7.6 | 3.1 3.4 | 9.3 8.7 | 3.4 3.8 | 6.2 6.5 | 2.3 2.8
Floor6 | 8.6 8.8 | 3.4 3.6 | 7.4 6.7 | 2.8 3.2 | 8.1 8.6 | 2.6 3.1 | 7.8 7.9 | 3.1 3.3
Floor7 | 8.4 8.2 | 3.3 3.7 | 7.1 7.1 | 2.6 2.9 | - - | - - | 6.6 6.1 | 2.4 3.4
Floor8 | 9.0 8.5 | 3.3 3.4 | 7.8 8.1 | 3.4 3.9 | 7.6 7.4 | 2.4 3.2 | 7.8 6.7 | 2.9 3.3
PMT 0
PMT 1
PMT 2
PMT 3
In red I do report for comparison results obtained with the previous decompression tables

## Slide 19
Floor1 – PMT1
Floor1 – PMT2
Floor1 – PMT3
Floor1 – PMT4

## Slide 20
Floor1 – PMT1
Floor1 – PMT2
Floor1 – PMT3
Floor1 – PMT4

## Slide 21
Floor2 – PMT1
Floor2 – PMT2
Floor2 – PMT3
Floor2 – PMT4

## Slide 22
Floor3 – PMT1
Floor3 – PMT2
Floor3 – PMT3
Floor3 – PMT4

## Slide 23
Floor4 – PMT1
Floor4 – PMT2
Floor4 – PMT3
Floor4 – PMT4

## Slide 24
Floor5 – PMT1
Floor5 – PMT2
Floor5 – PMT3
Floor5 – PMT4

## Slide 25
Floor6 – PMT1
Floor6 – PMT2
Floor6 – PMT3
Floor6 – PMT4

## Slide 26
Floor7 – PMT1
Floor7 – PMT2
Floor7 – PMT3
Floor7 – PMT4

## Slide 27
Floor8 – PMT1
Floor8 – PMT2
Floor8 – PMT3
Floor8 – PMT4