## Slide 1: FBK SiPM Performances
FBK 1X1 VS FBK 3X3
CTA Meeting 28 novembre 2013
Massimo Capasso

## Slide 2: Amplitude Distribution
Waveform Plot
Timing

## Slide 4: Amplitude Distribution
Waveform Plot
Timing

## Slide 6: FBK 1x1 VS FBK 3x3 @ 0°C
FBK 1x1
FBK 3x3

## Slide 7: FBK 1x1 VS FBK 3x3 @ 25°C
FBK 1x1
FBK 3x3

## Slide 8
FBK 1x1
FBK 3x3

## Slide 9: Gain @ T=0°C
FBK 1x1
FBK 3x3

## Slide 10: Gain @ T=25°C
FBK 1x1
FBK 3x3

## Slide 11: Amplitude Distribution
Waveform Plot
Timing

## Slide 12: Min Time Distribution FBK 3x3

## Slide 22: Rise Time VS Gain OUT x1

## Slide 23: Rise Time VS Gain OUT x5

## Slide 24: SUMMING UP…
FBK 1x1 gain ( 40mV/p.e. @ OV = 3V, T = 25°C)
FBK 3x3 gain (25mV/p.e. @ OV = 3V, T = 25°C)
FBK 3x3 Rise Time > FBK 1x1 Rise Time
Jitter

## Slide 27: BACKUP: RiseTime

## Slide 30: BACKUP: High Rise Time
(x,y) = (33.1ns,-2.6mV)
(x,y) = (38.3ns,-21.9mV)
(x,y) = (41.1ns,-107.2mV)
(x,y) = (33.5ns,-17.5mV)

## Slide 31: “Polo Zero” @ T=25°C

## Slide 33: BACKUP: Charge Distribution
0.75pC/p.e.
4pC/p.e.

## Slide 34: BACKUP: SNR @ T=0°C

## Slide 35: SNR @ T=25°C