## Slide 1: Shaper study
Collected runs
Numerical Shaping algorithm
results

## Slide 2: Runs collected
run energy run cond HV
100 100 shaper 750
101 100 = 850
102 100 = 1000
10 3 100 No shaper 750
104 100 = 850
105 100 = 1000
106 100 = 800
107 100 = 900
Preparato sw run analizzato 104

## Slide 3: Shaping algorithm used
Time A.U.
Time A.U.
Algo details:
We have been sampling the waveform@10GHz
L,G =Number of samples in
In this study D tL = D tG= 30 ns

## Slide 4: Shaped signal example
Noise?

## Slide 5: Correlation plot among shaped and not shaped peak value
Shaping does not
change peak value (energy)

## Slide 6: Unfortunately……
Large peaks in energy spectra:
Not all energy is conteined
beam spread.

## Slide 7: But….Noise results on run 104
Sigma=8mV no shaping
Sigma<2mV after shaping