## Slide 1: RICH TDAQ STATUS
F. Bucci, R. Ciaranfi, M. Lenti, M. Piccini, C. Santoni
TDAQ WG, 02/09/2014

## Slide 2: PMTS INSTALLATION
Saleve lodging disk
Jura lodging disk
Installation of PMTs on the Jura and Saleve lodging disks completed
Looked at the signal shape and measured the rate of each PMT

## Slide 3: PMTS TEST
The HV cables of the PMT dividers were plugged in the HV distribution boards located at the same distance as in the experimental area
The disks were installed on a light tight box and enlighted with a laser
to look for dead channels

## Slide 4: FE STATUS AND TEST
New FE board prototype is ready
Two different setup still under testing
Performances look promising
Order to be placed within the end of the week
Full production should be finished at the end of September
The arrival at CERN is foreseen at the beginning of October
FE boards schedule tight but still feasible

## Slide 5: SCHEDULE OF INSTALLATION AND TEST OF PMTS AND FE
All the electronics but the FE boards will be carried to CERN next Monday.
In the following two weeks the PMT lodging disks will be installed in ECN3 and the HV cables will be plugged.
The last week of September the full chain of electronics will be tested by using a FE board prototype and enlighting the PMTs disk with a laser.

## Slide 6
Two different firmware versions has been developed:
  RICH version
  GPURICH version
Most of the firmware is common between the two versions
HITS CLUSTERING
CLUSTERS MERGING
CHANNELS INFO
HANDLING
CHANNELS INFO
HANDLING
RICH
RICH
GPURICH
GPURICH
PP FPGA
SL FPGA
RICH Trigger Firmware Status

## Slide 7
RICH Firmware
RICH version tested in June
Primitive production worked fine

## Slide 8
0xA0000000
0x4368030b
0x40680185
0xB0000002
TRIG_IB1: 0x5c010085
TRIG_IB1: 0x00000001
TRIG_IB1: 0x5c01000b
TRIG_IB1: 0x00000003
PRIMITIVE_DATA: 0x00000000
PRIMITIVE_DATA: 0x00010061
PRIMITIVE_DATA: 0x00000000
PRIMITIVE_DATA: 0x00000001
PRIMITIVE_DATA: 0x000200c2
PRIMITIVE_DATA: 0x00000000
PRIMITIVE_DATA: 0x00000002
PRIMITIVE_DATA: 0x00010024
PRIMITIVE_DATA: 0x00000001
PRIMITIVE_DATA: 0x00000003
PRIMITIVE_DATA: 0x00020085
PRIMITIVE_DATA: 0x00000001
PRIMITIVE_DATA: 0x00000004
PRIMITIVE_DATA: 0x0001000b
PRIMITIVE_DATA: 0x00000003
TRIG_IB0: 0x5c010061
TRIG_IB0: 0x00000000
0xA0000000
0x42d00061
0xB0000002
TRIG_IB2: 0x5c0200c2
TRIG_IB2: 0x00000000
TRIG_IB2: 0x5c010024
TRIG_IB2: 0x00000001
TRIG_IB2: 0x5c010085
TRIG_IB2: 0x00000001
0xA0000000
0x42600124
0x430800c2
0x40780185
0x409800c2
0xB0000005
0xA0000000
0xB0000001
TRIG_IB3: - - - - - - - - - -
RICH Firmware
From data to primitives:
(data from June test)
TDCB 0
TDCB 1
TDCB 2
TDCB 3
PP INPUT
PP OUTPUT / SL INPUT
SL OUTPUT
sorting
clustering
cluster
merging
multiplicity
Average finetime
timestamp – lsb 25 ns

## Slide 9
GPURICH version tested in August
Primitive production worked fine
GPURICH Firmware
TIMESTAMP 25 ns
MULTIPLICITY
CH ID
FINETIME
---
SL OUTPUT
(TDSPY)
FIRST
UDP
PACKET
SECOND
UDP
PACKET
CH ID
CH ID

## Slide 10
Firmware tested at CERN with emulated data
Primitive production is working fine (some issues to be addressed)
Some problems during the integration of the trigger firmware in the
“generic” one (talk by Roberto Piandani)
  Found a working temporary solution
  Final solution is under test
Rate and latency tests to be done
RICH Trigger Firmware Status