## Slide 1: RD at RM3
RM3 setup
Preliminary results
APD UV extended
Roma3 and I. Sarra

## Slide 2: RM3 setup
two copper faraday cages for our PhotoPentode
Voltage divider received and tested
Big (unfortunately) dark faraday cage
Setup overview

## Slide 3: Photopentode cages
Photopentode Faraday cage
Faraday cage mounted on the mechanics which
Hosts the photopentode

## Slide 4: Voltage Divider and pre-amp
Voltage divider
pre-amp

## Slide 5: Dark box&setup
HV & signal cable
connections

## Slide 6: Trigger Setup
TOP VIEW
Finger UP
Finger DOWN
Finger UP
Finger DOWN
CsI Pure
VIEW
Finger UP
CsI Pure
Finger DOWN
SCOPE
Electronics System
Trigger Finger UP & Finger DOWN
Threshold: -200mV
Pb
5cm
Pb

## Slide 7: Comparison with/wo lead absorber
No Lead absorber
With lead absorber

## Slide 8: Setup topview

## Slide 9: Voltage divider
Pre Charge Amplifier
LV PW
HV PW

## Slide 10: Pre Charge Amplifier
Charge - Preamplifier
Gain = 1.4V/pC
Single power = 6V - GND
Power dissipation = 16mW 6V
Dynamic Range 2.2V su 50R
Tau = 150ns

## Slide 11: Cosmic energy deposition unshaped
What do these events look like?

## Slide 12: Background shapes
Is there any frequency
which drives the
noise shape ?

## Slide 13: O yes!
FFT Background
10 5
Though in log scale they have to be studied!

## Slide 14: Signal to noise ratio before shaping
Low gain chain
High gain chain

## Slide 15: Signal to noise ratio after shaping
Low gain chain
High gain chain
Mean = 60
Mean = 22

## Slide 16: Low pass filter (CH1)
Filtered vs unfiltered data
About 50
About 80
In this case the signal to noise ratio for a improves
from 50 to 80.

## Slide 17: Fitered data on Ch2
In this case the signal to noise ratio improves from 22 to 27
S to n ratio:About 22
S to N ration about 27

## Slide 18: Scintillation emission CsI(Pure)
 |  | CsI
Density[g/cm3] |  | 4.51
Melting point[K] |  | 894
Thermal expansion coefficient[K-1]\ |  | 49×10-6
Cleavage plane |  | None
Hardness(Mho) |  | 2
Hygroscopic |  | slightly
Wavelength of emission maximum[nm] |  | 315
Lower wavelength cutoff[nm] |  | 260
Refractive index at emission maximum |  | 1.95
Primary decay time[us] |  | 0.016
Afterglow(after 6ms)[%] |  | -
Light yield[photons/MeVγ] |  | 2×104
Photoelectron yield[% of NaI(Tl)](γrays) |  | 4-6
Wavelenght of emission max CsI(PURE) = 315nm
Lower wavelenght cutoff CsI(PURE) = 260nm

## Slide 19: APD UV extended vs CsI(PURE)
Today we can get a APD UV extended, It’s working at 200 nm
This matches the CsI(pure) spectrum!!
Quantum efficiency: 80-90% in the working region.
  Standard APD: 40-50% in the working region.
315nm
APD Standard
315nm
APD UV extended

## Slide 20: APD extended costs and sizes
  Quotation by Hamamatsu for the 10x10 mm2 APD
  Now we have:
    2 detectors with the window UV extended.
    1 detector without protective window.
S11759-1010
1-4pcs 1.080Euro
4000pcs 263Euro

## Slide 21: Future developments
Test UV APD with UV windows.
    Performance gain.
    Quantum efficiently.
    Test cosmic -> APD UV vs APD standard vs PP
    Test beam -> APD UV vs APD standard vs PP