## Slide 1: ONE YEAR rate MONITORING, burst analysis and ENVIRONMENTAL parameters
M.G. Pellegriti – INFN - LNS
KM3 Collaboration Meeting – Catania 21 March 2014
1

## Slide 2: Outlook
Long term rate monitoring
Burst analysis
CTD Monitoring
Correlations between PMT’s
2

## Slide 3: PMT1 Rate – march 2013 / March 2004
Old D.B.
Median
Rates and
burst fractions
over 15 min
10 days
HV changes
Drastic change
in b.f. activity
3

## Slide 4: PMT2 Rate – march 2013 / March 2004
4

## Slide 5: PMT3 Rate – march 2013 / March 2004
Not working PMT
5

## Slide 6: PMT4 Rate – march 2013 / March 2004
Not working PMT
Last week monitoring
in Porto Palo
6

## Slide 7
PM Saturation effect
@ about 200 kHz
No data between
200 -300 kHz
Overflow at low
rate values
Fifo-full normal
below 104/105 kHz
7

## Slide 8: Rate probability distributions
27/04/2013 to 04/12/2013
CUMULATIVE
Different high rate shape
for PMT4
8

## Slide 9
ROSE PLOT 10/03/2013– 19/04/2013
PMT1-F1
PMT4-F7
PMT2-F1
August drastic
changes in b.f.
activity
High Voltage
changes
to check the seasonal
changes in bioluminescence
waiting for a superposition
region
9

## Slide 10: KM3NET-Italy web db
preliminary
Implementation of the median calculation
performed by
Cristiano Bozza & Natalia Deniskina
Cross checks and comparison with
the previous calculations to be done
10

## Slide 11: Burst analysis
In collaboration with T. Chiarusi
11

## Slide 12
Sample
Burst > 100 kHz
12

## Slide 13: Example of burst behaviour
the threshold of 100 kHz is considered
the duration of the burst is the time the rate is above the threshold
Amplitude (kHz)
Duration (sec)
Evidence of exponential decay of the bursts
Maybe some superposition of subsequent burst is present
13

## Slide 14: Statistics
Initial sample composed by 12099866 events (seconds)
Corrected sample composed by 19219712 events (seconds) (stops included)
(we are including the not-recordered events)
If we remove 6.3 % of events due to acq stop Sample will be composed by 18008870 (sec)
N. of events (seconds) with rate above 100 kHz: 96867 (0.5%)
N. of «bursts» (consecutive seconds in which the rate is above 100kHz): 40112
Note on the 6.3% acq stops:
the acq stops are the 0’s recordered by the database
and time intervals with no records > 700 sec which have been set to zero
14

## Slide 15: Initial burst amplitude vs burst duration
Initial rate (kHz)
Burst duration (s)
n. of detected bursts
Initial rate (kHz)
Burst duration (s)
15

## Slide 16: Integral of the rate amplitude during the burst vs duration
Integral of the rate
Burst duration (s)
n. of detected bursts
Integral of the rate
Burst duration (s)
16

## Slide 17: Initial rate amplitude (no selection in the duration interval)
Initial rate Amplitude (kHz)
Number of Burst
475 bursts
Tot = 40112 bursts
Duration distribution for burst which have an initial rate amplitude >6000kHz
Number of Burst
Burst duration (s)
17

## Slide 18
delta=1s
delta=2s
delta=3s
delta=4s
delta=5s
delta=6s
delta=7s
delta=8s
delta=9s
delta=10s
delta=11s
delta=12s
Initial rate (kHz)
Number of Burst
Initial rate Amplitude
with a selection in
duration window
18

## Slide 19: Fit with a power low
Fit range:
from 500kHz to 5500kHz
y=0.14123E+08*x**(-1.4862)
(kHz)
(kHz)
Total burst 39640
Extrapolated burst 3154
Percentage of lost burst: 8%
16 bit  2^16=65536
Phase III 24 bit
Data wrapping above
6553.6 kHz
Try to recover data
above 6553.6 kHz
to cross- check the fit
19

## Slide 20: CTD – Analysis
20

## Slide 21
CTD
P del ctd1 era già scritto correttamente
d.b. writing changes
CTD1
CTD8
21

## Slide 22
DIFFERENZE IN TEMPO NELLA SCRITTURA DI DUE VALORI CONSECUTIVI
CONFRONTI TRA PRIMA E DOPO IL CAMBIAMENTO DELLE COND: DI SCRITTURA NEL D:B:
PRIMA
DOPO
I valori arrivano con maggiore frequenza ogni 10 min e non arrivano piu’ contemporaneamente
CTD1
PRIMA
DOPO
CTD8
22

## Slide 23
Two days zoom after changes in D.B. writing
☻☻Resolution = 0.0001°C
Initial accuracy = 0.002°C
Stability (per month)= 0.0002°C
☻Resolution = 0.14 dbar
Initial accuracy = 6.98 dbar (7 m)
Stability (per month) = 0.27dbar (0.28 m)
☺Resolution = 0.0001 mS/cm
Initial accuracy = 0.003 mS/cm
Stability (per month) =0.003 mS/cm
☻☻Resolution = 0.0001°C
Initial accuracy = 0.002°C
Stability (per month)= 0.0002°C
☺Resolution = 0.069db (0.07 m)
Initial accuracy = 3.4 db (3.5 m)
Stability (per month)= 0.14dbar (0.14m)
☺Resolution = 0.0001 mS/cm
Initial accuracy = 0.003 mS/cm
Stability (per month) =0.003 mS/cm
☺Resolution = 0.00001 S/m
Initial accuracy = 0.0003 S/m
Stability (per month) =0.0003 S/m
☺Resolution = 0.00001 S/m
Initial accuracy = 0.0003 S/m
Stability (per month) =0.0003 S/m
resolution=FWHM=s*2,35
23

## Slide 24: Long series observations - temperature
24

## Slide 25: Long series observations - pressure
25

## Slide 26: Long series observations - conductivity
26

## Slide 27: Current-meter
Speed(cm/s)
27
Qualitative representation
--- media mobile
PRELIMINARY

## Slide 28: Correlation file
28

## Slide 29: PMT-PMT Correlations (same floor)
PMT1
PMT2
PMT2
PMT3
PMT3
PMT4
PMT vicini
PMT lontani
2-h measurement
VERY PRELIMINARY
29