## Slide 1: RD at RM3
RM3 setup
Preliminary results
APD UV extended
Roma3 and I. Sarra

## Slide 2: RM3 setup
two copper faraday cages for our PhotoPentode
Voltage divider received and tested
Big (unfortunately) dark faraday cage
Setup overview

## Slide 3: Photopentode cages
Photopentode Faraday cage
Faraday cage mounted on the mechanics which
Hosts the photopentode

## Slide 4: Voltage Divider and pre-amp
Voltage divider
pre-amp

## Slide 5: Dark box&setup
HV & signal cable
connections

## Slide 6: Trigger Setup for 2PP 2inch
TOP VIEW
Finger UP
Finger DOWN
Finger UP
Finger DOWN
CsI Pure
VIEW
Finger UP
CsI Pure
Finger DOWN
SCOPE
Electronics System
Trigger Finger UP & Finger DOWN
Threshold: -200mV
Pb
5cm
Pb

## Slide 7: Trigger Setup for 2PP 1inch
TOP VIEW
Finger UP
Finger DOWN
Finger UP
Finger DOWN
CsI Pure
VIEW
Finger UP
CsI Pure
Finger DOWN
SCOPE
Electronics System
Trigger Finger UP & Finger DOWN
Threshold: -200mV
Pb
5cm
Pb

## Slide 8: Comparison on 2 inches pp with/wo lead absorber
No Lead absorber
With lead absorber

## Slide 9: Setup topview

## Slide 10: Voltage divider
Pre Charge Amplifier
LV PW
HV PW

## Slide 11: Pre Charge Amplifier
Charge - Preamplifier
Gain = 1.4V/pC
Single power = 6V - GND
Power dissipation = 16mW 6V
Dynamic Range 2.2V su 50R
Tau = 150ns

## Slide 12: A typical signal
noise
The standard deviation of the noise distributon is 700-800 uV.

## Slide 13: Raw energy distributions
The 2 channels are not equalized

## Slide 14: Channel equalization
saturation
Ch1 Ch2 correlation after equalization

## Slide 15: Signal to noise ratio
Signal/noise on ch1 = 49.
Assuming a that muon delivers
30 MeV noise level is about 650 KeV
Signal to noise ratio on ch2 = 76
under the same assumption
We estiate a noise level of about 400 KeV
No shaping has ever been applied to
This analysis

## Slide 16: Signal to noise channels combined
Signal to noise ratio
Is 78.
We do not gaim much from
channells combination.
It is maybe due to the huge
difference between the
2 photopentode