## Slide 1: NEWS: Nuclear Emulsions for Wimp Search
Natalia Di Marco (Laboratori Nazionali del Gran Sasso)
on behalf of
Italy
Napoli University “Federico II”
LNGS – INFN
Bari University
Roma University “La Sapienza”
Japan
Nagoya University

## Slide 2: NEWS: Nuclear Emulsions for Wimp Search
Q
Recoil Nuclei direction
Scattered Wimp
Solar system movement in the galaxy  WIMP Flux is expected to be not isotropic @earth.
Directional measurement for a strong signature and unambiguous proof of the galactic DM origin
Use nuclear emulsions, i.e. solid detector  incomparably more sensitive than gas detectors
Short recoil track length O(100 nm)
Ag
Br
O
N
C
Both light and heavier nuclei
WIMP wind
Sun
230km/s
Earth
Range [mm]
Recoil energy [MeV]

## Slide 3: NIT emulsion films: Nano Imaging Trackers
Size
70 nm crystal
100 nm crystal
200 nm crystal
R&D
35 nm crystal
Natsume et al,
NIM A575 (2007) 439

## Slide 4: NIT emulsion films: Nano Imaging Trackers
Size
70 nm crystal
100 nm crystal
200 nm crystal
R&D
35 nm crystal
Natsume et al,
NIM A575 (2007) 439
Mean : 18.0 +- 0.2 [nm]
sigma: 4.9 +- 0.2 [nm]
U-NIT
Crystal diameter [nm]
Mean : 44.6 +- 0.4 [nm]
Sigma : 6.1 +- 0. 3 [nm]
NIT
Crystal diameter [nm]

## Slide 5: NIT emulsion films: Nano Imaging Trackers
Size
70 nm crystal
100 nm crystal
200 nm crystal
R&D
35 nm crystal
Natsume et al,
NIM A575 (2007) 439
Mean : 18.0 +- 0.2 [nm]
sigma: 4.9 +- 0.2 [nm]
U-NIT
Crystal diameter [nm]
Mean : 44.6 +- 0.4 [nm]
Sigma : 6.1 +- 0. 3 [nm]
NIT
Crystal diameter [nm]
 | NIT | U-NIT
AgBr density | 12 AgBr/µm | 29 AgBr/µm
Detectable range | > 200 nm | > 100 nm
Tracking E threshold | > 80 keV@C | > ~ 30 keV@C

## Slide 6
Direction detected!
θ
Test using 400 keV Kr ions
Concept of readout: step I
Scanning with optical microscope and shape recognition analysis
Nucl.Instrum.Meth. A680 (2012) 12-17

## Slide 7
330nm
236nm
486nm
600nm
Optical microscope
X-ray microscope
Matching of recoiled tracks between Optical and X-ray microscope
Success rate of matching
572/579=99%
Concept of readout: step II
Scanning with X-ray microscope of preselected zones
 | angular resolution [degrees]
optical microscope | 31.4 +- 4.7 degree @original range: 150-250nm
X-ray microscope | 16.8+-2.9 degree @original range: 150-250nm

## Slide 8: Sensitivity
Zero-background hypothesis
90% C.L.
100 nm tracking threshold
directionality information not included

## Slide 9: R&D activity
Optical read-out system
Measurement of sub-micrometric length tracks:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Future?
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 10: R&D activity
Optical read-out system
Measurement of sub-micrometric length tracks:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Future?
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 11: Goal -> emulsion scanning system with 200nm spatial resolution and 20cm2/h speed (=0.5 Kg/year) Microscope with EPI illumination : 2014 prototype
Bonito CL/CMC-4000
CMOS Camera
4 Mpix, @100 fps
100W
Halogen Lamp
Nikon Oil Objective
100x, 1.25 N.A., Plan
Magnifying lens,
Nikon VM C-2.5x
Resolution: 28 nm/pixel
View Size: 65.2 x 48.3 µm
Green Optical Filter
Pneumatic Vibration Dumper
Optical read-out system

## Slide 12: Scanning speed and further upgrades
RESOLUTION | Field of view (micron2) | Speed (kg/y) | Frame rate
4 Mpix Mikrotron 4096 X 3072 12 Mpix | 204 x 153 | 0.5 | 560 f/s CoaXPress 180 f/s CoaXpress
Custom mechanics for the optical path
More rigid
Lighter
Custom LED
Tune magnification through the camera position
Tune the illumination optical path
Repeatability 0,2 micron (1)
Yaw 20 microrad (500)
X-Y stage

## Slide 13: R&D activity
Optical read-out system
Measurement of sub-micrometric length tracks:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Future?
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 14: R&D activity
Optical read-out system
Measurement of sub-micrometric length tracks:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Next test beams and exposures
    Measurement of neutron-background at LNGS underground
    Ion implantation
    Exposure to neutron sources
NIT as sub-micrometric tracking detector
Demonstrators:
Slow Ion implantation
Neutron test beam
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 15: Slow Ion Implantation
“Simulation” of WIMP-induced nuclear recoil
**
Ion implantation system@Nagoya Univ.
200keV, 300keV, 400keV Kr-ion
vertical
horizontal
sample
(130nm, 200nm, 250nm)
density ~ 107 /cm2
(exposure time ; 0.1 sec)
→min 5 keV (Feb 2014, upgrade)
gas: Kr or C
Energy: 30 ~ 200 [keV] * ion valence
- implantation density > 107 /cm2
Notes: ** aggiungere SRIM simulation

## Slide 16
Vertical
Kr 400keV
Horizontal
Kr 400keV
10µm
Actual images with E600 MS
Irradiation direction ⦿
Irradiation direction
Slow Ion Implantation
gas: Kr or C
Energy: 30 ~ 200 [keV] * ion valence

## Slide 17: Horizontal 400keV
Horizontal 300keV
Horizontal 200keV
Angular distribution
Vertical 400keV
Vertical 300keV
Vertical 200keV
Notes: Sigma: 500, 570, 580 mrad
Length: 250, 200, 130nm

## Slide 18
Simulation
Angular
resolution
0 deg.
Angu.reso
20deg.
Angu.reso
40deg.
(only scattered)
400keV
Simulation
Simulation
- simulation (scattering)
－ data
Preliminary
σdata² = σscatt² + σresolusion²
Angular distribution

## Slide 19: Efficiency evaluation
- First scan: X-ray microscope with sequence mode (Area scan)
& selection of the candidate (Track like)
- Second scan: Optical microscope by pin-point check
& Ellipse fit
X-ray MS
・ 10.83nm / pix
・ 2048 x 2048 pix CCD
171 nm
281 nm
1.1 μm
1.1 μm
Elli 1.48
Elli 1.68

## Slide 20
- 2012 data
- Elli>=1.25
- Track length: 180~340nm
- Grain size ~200nm
- NA1.25 & λ ~ 550nm
- New data
- Elli>=1.25, 1.40, 1.60
- Track length: 50~450nm
- Grain size ~100nm
- NA1.45 & λ ~ 440nm
Efficiency evaluation

## Slide 21: R&D activity
Optical read-out system
Measurement of sub-micrometric length tracks:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Future?
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 22
Intrinsic radioactive contamination
Gelatin sample | Contamination [ppb] | Activity [mBQ/kg]
Th | 2.7 | 11
U | 3.9 | 48
Polystyrene | Contamination [ppb] | Activity [mBQ/kg]
Th | 0.019 | 0.08
U | 0.009 | 0.11
PVA | Contamination [ppb] | Activity [mBQ/kg]
Th | <0.5 | <2
U | <0.7 | <9
Mass spectrometry measurements
Uncertainty on contamination : 30%
Conversion factors: 1 Bq/Kg(232Th) = 246 ppb(232Th) ; 1 Bq/Kg(238U) = 81 ppb(238U)
AgBrI | Contamination [ppb] | Activity [mBQ/kg]
Th | 1 | 4
U | 1.5 | 18
Costituent | Mass fraction
AgBrI | 0.813
Gelatin | 0.1253
PVA | 0.0617
From 238U: 1.75 ppb (21.6 mBq/kg)
From 232Th: 1.18 ppb (4.8 mBq/Kg)

## Slide 23: Cross-check with γ spectroscopy
Secular equilibrium valid for AgBr-I "potassium free” powder
Evidence for broken secular equilibrium at 226Ra for Gelatine P6406. The measured activity is ~ 20 times less  to be estimated (conservative assumption)
Emulsion film thickness not enough to stop all α particle;  overestimation of the neutron flux (conservative assumption)
Intrinsic neutron background
1) n from spontaneous fission
The only relevant contribution comes from 238U
(fission probability/decay negligible for other elements)
2) (α,n) reactions by α from 238U and 232Th chains

## Slide 24
Intrinsic neutron background
Neutron spectrum calculated with SOURCES simulation code
Process | SOURCES calculation (n kg-1 y-1) | calculation by hand (n kg-1 y-1)
Spontaneous fission | 0.745 | 0.768
(α,n) from 232Th-chain | 0.109 | 0.100
(α,n) from 238U-chain | 0.328 | 0.325
Total flux | 1.182 | 1.193

## Slide 25
External neutron sources
Neutrons from environmental radioactivity
To be made negligible with appropriate shielding
Cosmic muon-induced neutrons
Preliminary estimation; underground expected to be less than intrinsic radioactive contamination
A. Lindote et al., Astroparticle Phys.31 (2009) 366
Differential energy spectrum of neutrons induced by 280 GeV muons
Approximations and assumptions:
Neutron differential spectrum: 10-5 n/µ/g/cm2/MeV
Material used in the simulation is CnH2n
Muon flux: 1/m2/h
Neutron flux: 0.009 n/kg/y/MeV
Integrating from 0 to 10 MeV → ~ 0.05 n/kg/y

## Slide 26: R&D activity
Optical read-out system
Measurement of sub-micrometric length track:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Future?
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 27: 2014 - 2015 activity
New film production @ LNGS (underground)
Slow Ion implantation @ EU (C ion – 80KeV)
Further studies with neutron source (241AmBe) @ LNGS
X-ray microscopy for cross-check and final angular resolution
Measurement of the LNGS underground neutron flux (directionality)
Hardware developments:
High resolution mechanics

## Slide 28: backup

## Slide 29: Neutron test beam analysis
Development of a new scanning software and a new tracking algorithm:
OPERA algorithm is optimized for the reconstruction of straight and relatively short tracks => efficiency drop for horizontal tracks
Required a new algorithm to reconstruct straight e/o curved tracks originating (or stopping) inside emulsion at any direction
Scanning and track reconstruction performed
Visual inspection of reconstructed tracks:
measurement of length and angle
Comparison between automatic and visual measurement
Comparison between data and Monte Carlo
Evaluation of tracking efficiency
x
y
z
OPERA
Dark Matter

## Slide 30: New tracking algorithm for horizontal track detection

## Slide 31: Neutron Test Beam @ FNS
ED=1.8MeV(AIST)
Emitted neutron energy
J-PARK
FNS
3He + n (2.45 MeV)
50 %
T + p (3.45 MeV)
50 %
D + D
Chart: φ[deg.]
| 0 | 10 | 20 | 30 | 38 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180
 | 3.2978 | 3.2847 | 3.2463 | 3.1844 | 3.1201 | 3.0036 | 2.8932 | 2.7756 | 2.6554 | 2.5368 | 2.4235 | 2.3186 | 2.2243 | 2.1426 | 2.0745 | 2.0209 | 1.9824 | 1.9592 | 1.9514
 | 5.0469 | 5.0056 | 4.9187 | 4.6933 | 4.4438 | 4.1526 | 3.8371 | 3.5141 | 3.1985 | 2.902 | 2.633 | 2.3965 | 2.1948 | 2.028 | 1.8952 | 1.7944 | 1.724 | 1.6824 | 1.6687
ED=350keV(FNS)

## Slide 32
31.3 µm
Ep = 1.55 MeV
10mm
dE/dx

## Slide 33
2.2 µm

## Slide 34
0.89 µm
Ep = 95 keV

## Slide 35
0.65 µm
Ep = 65 keV

## Slide 36: Emission angle and track length
Data
Data
Simulation
Simulation

## Slide 37: Neutron energy measurement
Measurement of track length and angle
proton energy using the energy-range relation from SRIM simulation
 neutron energy
Chart: cosθ
| 1 | 0.99619469809174499 | 0.98480775301220802 | 0.96592582628907298 | 0.93969262078590798 | 0.90630778703664705 | 0.86602540378444104 | 0.81915204428899202 | 0.76604444311898201 | 0.70710678118654802 | 0.64278760968654203 | 0.57357643635104705 | 0.5 | 0.422618261740701 | 0.34202014332567099 | 0.25881904510252102 | 0.17364817766693 | 8.7155742747658596E-2 | 6.1257422745432196E-17
 | 4.9 | 4.8628 | 4.7522 | 4.5718 | 4.3268 | 4.0248 | 3.675 | 3.2879 | 2.8754 | 2.45 | 2.0246 | 1.6121 | 1.225 | 0.87517 | 0.57319 | 0.32824 | 0.14775 | 0.037221 | 1.8387e-32
En = 4.9MeV.
En= Ep / cos2q
Chart: Recoil proton track length[μm]
| 5.21 | 5.94 | 6.71 | 7.52 | 8.3500000000000068 | 10.130000000000001 | 12.02 | 14.02 | 16.130000000000031 | 18.329999999999991 | 20.64 | 23.04 | 25.53 | 28.130000000000031 | 30.82 | 33.61 | 39.46 | 47.290000000000013 | 55.7 | 64.650000000000006 | 74.16 | 84.19 | 94.75
 | 0.5 | 0.55 | 0.6 | 0.65 | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 2 | 2.25 | 2.5 | 2.75 | 3 | 3.25 | 3.5

## Slide 38: Reconstructed neutron energy (2.8MeV neutron)
Chart: scattered angle cos(3D angle)
| 1 | 0.99619469809174499 | 0.98480775301220802 | 0.96592582628907797 | 0.93969262078590798 | 0.90630778703664505 | 0.86602540378444304 | 0.81915204428899202 | 0.76604444311898601 | 0.70710678118654802 | 0.64278760968654403 | 0.57357643635104705 | 0.5 | 0.42261826174070299 | 0.34202014332567199 | 0.25881904510252102 | 0.17364817766693 | 8.7155742747658596E-2
計算値 | 64.6585 | 63.8888 | 61.6252 | 58.001 | 53.2273 | 47.5763 | 41.3589 | 34.8976 | 28.4987 | 22.4303 | 16.9112 | 12.11 | 8.1454 | 5.0786 | 2.8979 | 1.5064 | 0.73374 | 0.37986
 | 64.6585 | 63.8888 | 61.6252 | 58.001 | 53.2273 | 47.5763 | 41.3589 | 34.8976 | 28.4987 | 22.4303 | 16.9112 | 12.11 | 8.1454 | 5.0786 | 2.8979 | 1.5064 | 0.73374 | 0.37986
2.8
1.5
2.0
0.8
2.5
neutron energy
2.7+-0.3MeV
energy resolution(σ/E)
10%
Notes: 中性子エネルギーにはもともと半値幅で4%程度の広がりがある。

## Slide 39: Reconstructed neutron energy (2.8MeV neutron)
Chart: scattered angle cos(3D angle)
| 1 | 0.99619469809174499 | 0.98480775301220802 | 0.96592582628907797 | 0.93969262078590798 | 0.90630778703664405 | 0.86602540378444304 | 0.81915204428899202 | 0.76604444311898601 | 0.70710678118654802 | 0.64278760968654403 | 0.57357643635104705 | 0.5 | 0.42261826174070299 | 0.34202014332567199 | 0.25881904510252102 | 0.17364817766693 | 8.7155742747658596E-2
計算値 | 64.6585 | 63.8888 | 61.6252 | 58.001 | 53.2273 | 47.5763 | 41.3589 | 34.8976 | 28.4987 | 22.4303 | 16.9112 | 12.11 | 8.1454 | 5.0786 | 2.8979 | 1.5064 | 0.73374 | 0.37986
 | 64.6585 | 63.8888 | 61.6252 | 58.001 | 53.2273 | 47.5763 | 41.3589 | 34.8976 | 28.4987 | 22.4303 | 16.9112 | 12.11 | 8.1454 | 5.0786 | 2.8979 | 1.5064 | 0.73374 | 0.37986
2.8
1.5
2.0
0.8
2.5
neutron energy
2.8+-0.2MeV
energy resolution(σ/E)
7%

## Slide 40: Reconstructed neutron energy (2.8MeV neutron)
neutron energy
2.78+-0.19MeV
energy resolution(σ/E)
7%
manual measurement
Geant4 simulation
neutron energy
2.80+-0.16MeV
energy resolution(σ/E)
6%

## Slide 41
-N.A1.45 (new!) -4M camera (cell size 5.5µm) -λ 440nm (Blue band-path)
-manual
-pixel size: 55nm(measured) -Spatial resolution:
⇒ next slide
PTS
E600
-N.A1.25 Ob.lens -1M camera (cell size 7.5µm) -λ 550nm (Green band-path)
-automatic
-pixel size: 58nm(measured) -Spatial resolution:
315nm(measured)
Upgrade
Spatial Resolution E600

## Slide 42: 0.8µm
60nm silver grain
Spatial Resolution E600
Brightness
0
160
140
120
100
80
60
40
20
0
12
10
8
6
2
4
Position [pixel], (1pix=55nm)
Brightness 3D
×Data
－Fitting
δ = 232.7 ± 4.2 nm

## Slide 43: Track length vs. Ellipticity
ex) Elli 1.25
523 events
Efficiency evaluation
ex) Elli 1.25
Pink line: Conventional signal region
Yellow： All events
Red: Elli1.25 cut
Green: Elli1.5
Blue: Elli1.8
(minor≧4.8)

## Slide 44
Red: Elli1.25 cut
Green: Elli1.40
Blue: Elli1.60
(minor≧4.8)
Efficiency evaluation

## Slide 45: Underground facility

## Slide 46: Underground facility

## Slide 47: Hardware upgrades
Nikon CFI Plan Apo Lambda
100X Oil
1.45 NA
Nikon Plan Apo
100X Oil
1.25 NA
Ordered,
to be tested
Allied Vision Bonito CMC-4000
DFCL interface
2320 x 1726 pixels
4 Mpixel @ 386 fps
Mikrotron MC-1310
SFCL interface
1280 x 1024 pixels
1.2 Mpixel @ 376 fps
SW is ready and tested
Matrox Radient eCL SFCL/DFCL
Matrox Odyssey Xpro SFCL
PCI-X interface up to 680 MB/sec
PCIe 8x interface up to 1750 MB/sec
SW is ready and tested
Preliminary tests completed:
very good linearity (0.02%)
high linear speed (up to 2cm/s)
low vibration level
PIFOC Pi-726 Piezo nano-positioner

## Slide 48: Equatorial telescope
We are measuring the
radioactivity
of the main components
Avalon Instruments

## Slide 49: R&D activity
Optical read-out system
Measurement of sub-micrometric length track:
angular resolution and efficiency evaluation
Intrinsic background measurement
External background evaluation
MC simulation
NIT technology
Future?
Notes: * v. Yoshimoto + Machii (parte finale)

## Slide 50: MC Simulation – GEANT4
Phisycal processes involving neutrons activated
Relevant at low energies

## Slide 51: MC Simulation – GEANT4
(En=3.12 MeV)

## Slide 52: MC Simulation – GEANT4
E>3.12 MeV

## Slide 53: MC Simulation – GEANT4

## Slide 54: MC Simulation – GEANT4

## Slide 55: 2014-2018
Chart: Months from September 2104
| Pouring Test | Pouring Commissioning | Production Machine transfer to LNGS | Development optimization | Development commissioning | Installation | System development | High resolution mechanics | High resolution optics | Sensors | Exposure I | Exposure II | Exposure I | Exposure II | Gel Production | Chemical Development | Clean room | Reference marks | High resolution and high speed prototype | Software | Europe | Japan | NIT Facility @ LNGS | Optical Scanning System R&D | X-ray exposure and analysis | Monte Carlo simulation
Start date | 2 | 6 | 18 | 1 | 7 | 12 | 4 | 4 | 0 | 2 | 0 | 8 | 18 | 8 | 18 | 0
Months to complete | 4 | 6 | 1 | 6 | 6 | 6 | 4 | 10 | 8 | 9 | 18 | 3 | 3 | 3 | 3 | 15

## Slide 56: 2014-2018
Chart: Months from September 2104
| Exposure I | Analysis of samples I | Exposure II | Analysis of samples II | Exposure I | Analysis of samples I | Exposure II | Analysis of samples II | Exposure I | Analysis of samples I | Slow ion implantation | Neutron Source (241AmBe) | g-response | Test Beams
Start date | 4 | 5 | 14 | 15 | 5 | 6 | 15 | 16 | 8 | 9
Months to complete | 0.5 | 3 | 0.5 | 4 | 0.5 | 4 | 0.5 | 4 | 0.5 | 4
PRELIMINARY

## Slide 57: 2014-2018
Chart: Months from September 2104
| Design | Film production | Exposure | Analysis | Radioactivity measurement | Purification/Design | Construction | Design | Film production | Detector Construction | Exposure | Analysis | Directional measurement | Underground Neutron Flux measurement | Equatorial Telescope | Pilot Experiment | Intrinsic background purification | U-NIT development
Start date | 0 | 6 | 10 | 16 | 0 | 9 | 16 | 16 | 19 | 22 | 28 | 40 | 28 | 14
Months to complete | 6 | 3 | 6 | 12 | 9 | 9 | 6 | 6 | 6 | 6 | 12 | 12 | 18 | 18
PRELIMINARY