## Slide 1: INSIDE Software Status Report
Simulation:
FLUKA speed up
Activity generator
Reconstruction:
DoPET beam test
INSIDE beam test

## Slide 2: Development of techniques to speed up the simulation of PET and SPECT for hadrontherapy monitoring
Detectors for monitoring have a limited solid angle in general. Most of simulated physics is wasted outside the detector

## Slide 3: How to accelerate FLUKA calculations for PET and prompt photon calculations
Optimization of production and transport thresholds
Inelastic interaction biasing
Further “tuning” as a function of particle energy
Multiple “replicas” of radioactive decays
Direction biasing of annihilation photons
Multiple “replicas” of final (gamma) de-excitation
Direction biasing of de-excitation photons (work in progress)

## Slide 4: Example: a photon is sampled from a uniform Cosq distribution (as expected)
Detector region of interest

## Slide 5
Probability of pointing to the detector region is artificially enhanced (biased) towards the detector region
Angular distr. altered
Parameter to be optimized on the basis of detector size and physical considerations

## Slide 6
h->Fill(cost,weight)
Stat. uncertainty reduced in the region of interest
for the same no. of primaries

## Slide 7: Test case: 200 MeV p on PMMA
Observables:
Prompt photons (> 1 MeV) in the detector area
Annihilation photons (from + decays) in the detector area
Figure Of Merit (FOM):
1/[2TCPU] for both observables (a factor x larger FOM  a factor x less CPU required for the same statistics)
…evaluated with runs with equal TCPU for an easy estimation
“Detector”: 2 10x20 cm2 surfaces at R=50 cm

## Slide 8: Bias
Natural isotropic distribution altered so that the first photon preferentially points to the detector(s) (note please preferentially and not always, in order not to bias the results, particularly Compton related backgrounds)
“Physical” interaction length reduced by a user chosen factor (weights adjusted accordingly)
Last stage of interaction ( de-excitation), replicated several times for the same excited fragments

## Slide 9
Protons

## Slide 10
Carbon ions

## Slide 11
Interazione Nucleo-Nucleo
E < 0.1 GeV/n
Boltzmann Master Equation (BME) theory
BME (original code by E.Gadioli et al.,
FLUKA-implementation by F.Cerutti et al.)
0.1 GeV/n < E < 5 GeV/n
Relativistic Quantum Molecular Dynamics Model (RQMD)
RQMD-2.4 (original code by H.Sorge et al.,
FLUKA-implementation by A.Ferrari et al.)
E > 5 GeV/n
Dual Parton Model (DPM)
DPMJET-III (original code by
R.Engel, J.Ranft and S.Roesler,
FLUKA-implemenation by T.Empl et al.)
Ottimizzato per energie intermedie. Possibili problemi
vicino alla soglia inferiore
Non si osservano anomalie evidenti se ci si limita a distribuzione di dose

## Slide 12
Z (cm)
Ricostruzione della distribuzione del punto di origine dei protoni che escono dal target
Selezione generazione
soglia di transizione fra modelli e’ sharp

## Slide 13
Selezione in energia

## Slide 14
Per energie contenute nel range BME (es. C a 100 MeV/u) non ci sono anomalie evidenti
Il problema non esiste comunque per le interazioni p-N dove non c’e’ transizione di modelli di interazione

## Slide 15: FLUKA in-beam PET simulations
Speed up the simulation
  Bias
  Activity based-generator
  Faster workstation
  Cloud-computing

## Slide 16: Hadrontherapy activity-based generator
Needed components
  Hadrons treatment simulation
  Activity scoring with time tagging
    Spatial sampling
    Time sampling (spills?)
    Activity distribution vs annihilation points distribution per nucleon
      Pairs generation vs positrons generation

## Slide 17: Hadrontherapy activity-based generator
SOURCE.F file for photons pair generation
  Spatial and time sampling of activity, “simple” pairs generation
    Input file contains 4D spatial sampling
    With REAL*4 for 100x100x100x300 voxel the memory used is 1.2 GB
  Alternative: activity sampled per nucleon
    Input file contains different data per emitter
    Positron generation instead of pairs
    -> More complete physics
Results: full proton treatment simulated in about 1h10’

## Slide 18: Treatment Plan Simulation
starting from full treatment plan (4*10^10 p)
  FLUKA, which will provide another gain for the direction bias: ~ 10^2
  4D Activity distribution: gain of about a factor 1000 (163 because all p generate beta+, another 10 because activity map is sampled with a 1mm and 1s step)
Total gain about: 10^4
4D Activity distribution

## Slide 19: RHD-DoPET CNAO test beam result (may 2014)
Pisa group, INSIDE meeting 15-16 September 2014,Torino

## Slide 20: DoPET hardware updates
New: acquisition of the gating signal provided by CNAO
Allowed us to divide accurately data between “in spill”, “intra spill” and “Beam OFF” (BOFF) data

## Slide 21
Data 15476: 95.3 MeV protons on homogeneous PMMA
95 MeV protons on uniform PMMA
1-D z-profile for DATA and MC
Nr events:
In-spill =12234
Inter-spill=196624
2 min beam-off=326913;
BON+2min beam-off=534837;

## Slide 22: 95.3 MeV Proton on PMMA images
BEAM
In-spill
BOFF
Inter spill
Z
Y
BON time 118.2 sec
Intra spill time ~20 sec
Inter spill time ~100 sec
BOFF time 548.5 sec

## Slide 23
Data 172120: 95.3 MeV protons on PMMA+ “small” hole
1-D z-profile for DATA and MC
x-y view of ROI
(“ellipse-cylinder”)
(so “zoomed” on
cavity)
95 MeV protons on PMMA with
a cavity at z=2 (d=1cm, h=1 cm)
Nr events:
In-spill =9134
Inter-spill=179049
2 min beam-off =347090;
BON+2min beam-off =535273

## Slide 24: 95.3 MeV Proton on a PMMA with a “small” air cavity
BON time 90.6 sec
Intra spill time ~20 sec
Inter spill time ~100 sec
BOFF time 583.4 sec
In-spill
BOFF
Inter spill
Z
Y
BEAM

## Slide 25
Data 1601: 2 Gy plan on homogeneous PMMA
2 Gy plan on uniform PMMA 3x3x3 cm3
located at z=2.5->5.5 cm
1-D z-profile for DATA and MC
Nr events:
In-spill =9349
Inter-spill=181422
2 min beam-off =278171
BON+2min beam-off =468942

## Slide 26
2 Gy plan: “big” (~4cm diameter) cavity vs no cavity
2 min beam-off
Inter-spill
Beam-on+2 min beam-off
2-D Inter-spill
x-y view of ROI“ellipse-cylinder”(so “zoomed” on the cavity)
Just with intra-spill data can already detect anomalies

## Slide 27: DoPET: Conclusions
DoPET is capable of detecting ``small’’ abnormalities when delivering mono-energetic beam
DoPET is capable of detecting ``big’’ abnormalities when delivering treatment plans
Analysis with ``small’’ abnormalities detection in treatment plans still ongoing
Distal fall off position of a treatment plan is visible after ~150 sec from the last layer delivery

## Slide 28
INSIDE CNAO II test beam results

## Slide 29
Experimental set up
SiPM matrices: 4x4 matrix,
16 x 16 mm2 total cross section area
Each pixel has a 3 mm x 3 mm cross section area
Matrix coupled to LSF/LYSO pixellated crystal
95 MeV proton beam
PMMA phantom
Dopet
Dopet
SiPM + LYSO
SiPM + LSF
Schematic top view (not to scale)
SiPM + LSF
SiPM + LYSO
Proton beam
Dopet
Dopet

## Slide 30
Energy spectrum single matrix
511 keV peak
LSO peaks

## Slide 31
Energy spectra of the coincidence events
511 keV
A lot of multiple coincidences are calculated for the inspill data. The 511 keV events could be discarded because they are marked as multiple coincidence.

## Slide 32
Distribution of the coincidence time interval ( 511 keV data only)
-300 ps
1.5 ns
3 ns
2.4 ns
Why do we find two peaks?

## Slide 33
Time distribution of the inspill events
FFT
Frequency (1/s)
100 Hz
100 kHz

## Slide 34
100 Hz frequency
10 kHz frequency
10 kHz is the frequency of the protons extraction within the bunch (spill).
Frequency (1/s)
100 Hz
100 kHz

## Slide 35: INSIDE Software Status Report
Objectives:
Integrate activity generator in FLUKA
Software repository (CNAF?)
Software integration
Analysis:
Time deconvolution in TP?
Calibration + monitoring