## Slide 1
KM3NeT
DOM Integration site
D. Vivolo
INFN Section of Naples
Naples

## Slide 2
The DOM integration site

## Slide 3
The DOM integration site
5 mobile tables for hemispheres

## Slide 4
The DOM integration site
5 mobile tables for hemispheres
Integration stand

## Slide 5
The DOM integration site
5 fixed workspaces:
  He test;
  PMT structure painting and PMT integration;
  Gel degassing;
  Vacuum for DOM closure;
  Worktable
5 mobile tables for hemispheres
Integration stand

## Slide 6
The DOM integration site
All integration phases are ready to be performed
All integration tools are currently available

## Slide 7
Leak test
ADIXEN ASM 340 leak tester is available

## Slide 8
Leak test
ADIXEN ASM 340 leak tester is available
Minimum detectable leak rate for He 5 x 10-13 Pa m3/s

## Slide 9
Leak test
ADIXEN ASM 340 leak tester is available
Cylinder for He test on penetrator

## Slide 10
Splicing
Purchased. Official delivery time: December 1st 2014
Fitel S178Av2 handheld arc fusion splicer with core alignment
Fiber meter for attenuation measure:
Fluke SimpliFiber PRO

## Slide 11
Splicing
Purchased. Official delivery time: December 1st 2014
Fitel S178Av2 handheld arc fusion splicer with core alignment

## Slide 12
Integration stand and lift
Maximum load: 480 kg
Lift test successful

## Slide 13
Integration tables
5 tables;
wheels for easy handling;
supports to hold the hemispheres

## Slide 14
Integration tools
Mushroom alignment tool
based on a custom design, 5 samples available

## Slide 15
Integration tools
Reflector ring press
Nikhef-based layout, slightly different design for optimized fine tuning

## Slide 16
Integration tools
Penetrator wrench and adapter

## Slide 17
Integration tools
Octopus board holder and nut tool

## Slide 18
Integration tools
Gel pouring and degassing
Vacuum bell purchased;
Glueing buckets;
Syringes;
10mm PVC glueing tube

## Slide 19
Support structure attachment;
penetrator and valve plugs;
thermal pad mask (picture N/A);
QR reader.
Integration tools

## Slide 20
The DOM Integration site is ready
Tools are available;
Workspaces and tools are ready for the required DOM production rate (5/week);
Even a more massive production is addressable.
Conclusions