## Slide 1: PORFIDO
Use neutrino telescopes infrastructure
(power, communication)
for oceanographic measurements
INFN-LNF
Orlando Ciaffoni, Marco Cordelli, Roberto Habel, Agnese Martini, Luciano Trasatti
Physical Oceanography by RFID Outreach

## Slide 2
RFID communication through OM glass without connectors
Very little interference with detector
Very little bandwidth to-from shore
Very little power
continuous data taking
data rate controlled from shore

## Slide 3: KM3 Optical Module with PORFIDO probe schematic
FCM
FCM

## Slide 4
Tag - WISP
Passive (no batteries)‏
Includes temperature
can add new sensors

## Slide 5
LNS pressure test

## Slide 6: PORFIDO for NEMO Phase II

## Slide 7: PHASE II
- 4 PORFIDO probes have been installed on 4 OMs

## Slide 8: PHASE II – System test
water masses movements
thermometer - accuracy better than 10E-3 ˚C
salinity meter with a resolution of ~1ppm
Km3Net –Italy
Good Temperature
built-in thermometer with ±1 ˚C accuracy
communications and power (50 mA @ 5V)
all 4 working after one year

## Slide 9: Km3Net –Italy Good Temperature
2 x 24 bit ADC
Thermistor thermometers - accuracy of 10E-4 ˚C
2 mA@3.3V
4 ready to install
Inductive salinity meter: need ~1 ppm
under test

## Slide 10: PORFIDO 2

## Slide 11: PORFIDO 2

## Slide 12: Km3Net - Italy
4 PORFIDO 2 with thermometers
ready
12 on all towers
calibration?
DOM