## Slide 1: NA62 Riunione di Gruppo I Napoli 07/01/2015 F.Ambrosino, M.B. Brunetti, T. Capussela, D.Di Filippo, P. Massarotti, M. Mirra, M. Napolitano, G. Saracino

## Slide 2: Outline
NA62 postcard
Attività napoletane 2014
Run 2014
Prospettive 2015
Uno sguardo al futuro

## Slide 3: Outline
NA62 postcard
Attività napoletane 2014
Run 2014
Prospettive 2015
Uno sguardo al futuro

## Slide 4: NA62
Birmingham
Bristol
Glasgow
Liverpool
Ferrara
Florence
LNF
Naples
Perugia
Pisa
Rome I
Rome II
Turin
UC Louvain
Mainz
George Mason
SLAC
UC Merced
BU(*)
San Luis Potosi
IHEP
INR
JINR
CERN
Bratislava
Sofia
Prague
Bucharest
*CERN-BU KR2109
28 Institutes, 206 Collaborators
Contacts with Indian, Canadian, and other US Institutions
Ferrara, Italy, 4/9/2014

## Slide 5: NA62 Goal
We aim to measure precisely
with in-flight kaon decays
State of the art:
[1] J. Brod, M. Gorbahn, PRD78, arXiv:0805.4119
[2] AGS-E787/E949 PRL101 (2008) 191802, arXiv:0808.2459
[3] M. Gorbahn arXiv:0909.2221
[4] KEK-E391a, arXiv:0911.4789v1
[5] A.J. Buras et al., EPJ C72, arXiv:1208.0934
[6]CMS-LHCb, CKM2014

## Slide 6: NA62 In-flight Technique
Calorimetry to veto extra particles
Very light trackers to reconstruct the K+ and the p+ momenta
Full particle identification

## Slide 7: NA62 LAyout
CHANTI

## Slide 8: Outline
NA62 postcard
Attività napoletane 2014
Run 2014
Prospettive 2015
Uno sguardo al futuro

## Slide 9: Attività 2014: LAV
Nel 2014 abbiamo completato la costruzione a LNF e l’istallazione al CERN dei Large Angle Vetoes
Una «grande impresa» durata quasi 6 anni, coronata da successo.
Fondamentale l’apporto dei servizi (OM-PM)

## Slide 10: LAV12 @ CERN

## Slide 11: Attività 2014: CHANTI
Rivelatore 100% napoletano fin dalla proposta e dal progetto. Nel 2014:
Completati costruzione e test del detector
Acquistata, testata e calibrata l’elettronica di front-end (600 canali)
Completata la camera vuoto e istallato il tutto con successo al CERN
Raffinata la simulazione MC
Fondamentale l’apporto dei servizi (OM-PM-SER)

## Slide 12: CHANTI: costruzione

## Slide 13: CHANTI: costruzione

## Slide 14: CHANTI: ISTALLAzione

## Slide 15: CHANTI: ISTALLAzione

## Slide 16: CHANTI: FEE calibration
Check dell’intera catena di FEE, e della calibrazione relativa fra i canali fatto misurando l’ampiezza di singolo fotoelettrone.
Counts/0.2mV
SPE (mV)
SPE value for nominal bias voltage
SPE value for nominal bias voltage + 0.25mV

## Slide 17: Outline
NA62 postcard
Attività napoletane 2014
Run 2014
Prospettive 2015
Uno sguardo al futuro

## Slide 18: Installation and Start up
The picture shows the last large element being installed (STRAW4)
Beam time 2014: October 6 – December 15
Somewhat “cold start”, with many beam instabilities in the first period: it was the very first SPS start after a long shutdown.

## Slide 19: BEAM LINE STATUS
The K12 beam line was commissioned partly in the 2012 Technical Run, but: - loss of kaon flux - asymmetric horizontal profiles around KTAG.
Detailed studies were done, including - realignment of the front end of the beam - consolidation of T10 target - various optimisations made (e.g. installation of fast vacuum valve in new position)
Now nominal K12 beam performance. Still low P42 flux requested
The vacuum system works fine.
Double wall to separate TCC8 and ECN3 air volumes operational.

## Slide 20: NA62 BEAM LINE status
SM
SM
Beam profile at the end of the dump tunnel. Spot size as calculated.
Horizontal profiles before and after the KTAG counters. These were very asymmetric and cut in the 2012 run. Now the beam transmission is as expected.

## Slide 21: NA62 detector status
SM
SM
LAV 1-5 in TTC8
View of ECN3

## Slide 22: NA62 detector status
SM
SM
RICH Straw 4 and LAV11
Straw3 - LAV10 - MNP33 -
Straw2 - LAV9

## Slide 23: NA62 detector status
SM
SM
LKr - CHOD LAV12 and RICH
NA62 view from LKr

## Slide 24: KTAG
Nominal N2 pressure for Kaons
Birmingham, Bristol, Liverpool
Online display
Preliminary: single hit time resolution (~280 ps)

## Slide 25: GIGATRACKER (GTK)
GTK3
Installed in K12 beam on November 6
CERN, Ferrara, Louvain-la-Neuve, Torino

## Slide 26: GTK Read OUT CHIP
TDCPix
130 nm CMOS IBM
CERN
PH-ESE Design
Excellent performance
Major breakthrough for NA62
“Whole Chip” Resolution ~ 72 ps RMS

## Slide 27
First station has been installed in GTK3-CHANTI (Nov.6):
chip thickness: 450 mm, total thickness: 800 mm.
Only chip #5 connected to DAQ
Second station:
chip thickness: 450 mm, total thickness: 800 mm.
Installed Nov 35th.
Removed after temperature problems and re-Installed Dec 5°
Third station: chip thickness: 100 mm,
total thickness: 450 mm.
GTK Status

## Slide 28: CHANTI: performance
Muon halo in CHANTI
Time slewing correction
ToT (ns)
Corr (ns)
s=1.2ns
Single hit resolution

## Slide 29: CHANTI performance
SINGLE MUON in CHANTI
Inelastic event in CHANTI

## Slide 30: LAV Time resolution studies
Already achieved ~1ns time resolution per single block and a perfect time alignment with respect to the KTAG
Second peak induced by different cable length. Disappears after T0 correction
TLAV-TCEDAR (ns)
TLAV-TCEDAR (ns)
Channel
TLAV-TCEDAR (ns)

## Slide 31
IRC constructed at LNF
SAC upgraded and tested
at LNF BTF
2014 run:
LAV FEE + TDC/TEL62 based readout
Small Angle Vetos
RAW data, no calibration or correction!
IRC

## Slide 32: Liquid KRYPTON READ OUT
Specifications/Tender : CERN PH-ESE,PH-SME Manufacturer: CAEN (ITALY)
14 bit FADC, 40 Ms, 32 ch / module 432 modules, 28 VME crates
Commissioned & Readout!!

## Slide 33: First Look at the 2014 LKR DATA…
Not even Preliminary
Squared missing mass spectrum
M2miss = (PK+ –Pp0)2

## Slide 34: NA62 STRAW TRACKER
CERN – JINR

## Slide 35: Completion of THE STRAWS
Number (Ch/Mod/ Coordinates) | Start of assembling | End of assembling | End of testing | Delivered to CERN | Assembling and testing time (months)
CH2 M1 U-V | 09.2012 | 04.2013 | 10.2013 | 11.2013 | 14
CH2 M2 X-Y | 07.2013 | 01.2014 | 02.2014 | 04.2014 | 8
CH4 M1 U-V | 12.2013 | 02.2014 | 03.2014 | 04.2014 | 4
CH4 M2 X-Y | 02.2014 | 05.2014 | 06.2014 | 07.2014 | 5

## Slide 36: STRAW Commissioning
Full Straw Spectrometer installed
Low Voltage and High Voltage powered
Straws 1, 2 and 4 read out
1 out of 7168 straw shows a leak
Raw Leading times (ns)
Ar 70% CO2 30%
HV = 1750 V

## Slide 37: NA62 RICH
CERN, Firenze, Perugia
Mirror mosaic
Vessel
Beam pipe
F/E Electronics
Radiator: Neon 1 bar

## Slide 38: RICH Commissioning
7 missing or masked channels:
1 dead PMT or missing connection at HV divider
2 missing connections to readout
1 masked on Jura side
3 masked on Saleve side
1170 bursts
RUN 1068 (Q1MUV3)

## Slide 39: RICH RINGS

## Slide 40: MUV1: Construction
First layer (Apr 2014)
Last layer (Sep 2014)
Some delays because of very late scintillator delivery.
MUV1 detector now just being closed and finished.
Transport to CERN foreseen for early 2015.

## Slide 41: MUV2
CREAM
readout
MUV2 already running in technical run 2012.
For 2014 new read-out implemented: CREAM boards as for LKr, with prior signal shaping. ➜ Working perfectly.
Cluster Energy

## Slide 42: MUV3
MUV3 already running in technical run 2012.
Now: all scintillator tiles equipped with PMTs.
Still old NA48-AKL CFD read-out ➜ Will be renewed for 2015 run.

## Slide 43
Key element for high-rate rare decay search
Several innovative solutions
First test of real
time use of GPUs in
hardware trigger
Full-digital integrated L0 hardware trigger on 10 MHz main data to 1 MHz readout
Trigger and Data
Acquisition (TDAQ)

## Slide 44
TEL62 systems (KTAG, CHANTI, LAV, CHOD, RICH, MUV3): production completed, all detectors equipped High-rate firmware debugging Full integration in run control system Stable in current reduced-rate data-taking
LKr: fully deployed, incremental firmware developments, also used for MUV2 Straws: Read out in zero-bias mode GTK: in deployment and testing on beam SAC/IRC: temporarily using TEL62, FADC system in preparation
L0 trigger: L0 Processor active with basic functionality, currently running with analogue trigger inputs Digital single-board L0 primitives LAV, CHOD, RICH, MUV3:
ready for testing, multiple-board connection being implemented Partial deployment of LKr/L0 trigger L1/L2 Farm: stably working at low rates
TDAQ STATUS

## Slide 45: NA62 RUN 2014: Summary
The baseline (TD) detector (except MUV1) has been commissioned with beam
Detector is in good shape. We will analize our first data to fully understand the detector itself and get ready for 2015 beam
With NA62 starting, CERN is again exploring the Standard Model using high intensity Kaon beams. This newly built apparatus is an attractive long-term facility to search for new physics

## Slide 46: Outline
NA62 postcard
Attività napoletane 2014
Run 2014
Prospettive 2015
Uno sguardo al futuro

## Slide 47: OUTLOOK 2015 NA62
Operate the experiment safely and efficiency
Data reduction and analysis preparations
Beam Request 2015:
We request as much as possible proton time in 2015. We understand that the start date is related to the completion of the ventilation system in ECN3 (June 30). Should the ventilation system be ready before, NA62 would like to profit from the early SPS start up. We are very interested to continue to take data with protons until the End of Physics (December 14, 2015).
Likely beam time for NA62 in 2015:
July 1st – November 15th

## Slide 48: OUTLOOK 2015 NA62-NA
Mantenere responsabilità CHANTI (nel 2014 detector experts on call : D. Di Filippo-P.Massarotti-M.Mirra)
Integrazione CHANTI DCS (attualmente standalone)
CHANTI Dedicated firmware (trigger?)
Completamento MC CHANTI
Preparazione all’analisi dati
….

## Slide 49: Outline
NA62 postcard
Attività napoletane 2014
Run 2014
Prospettive 2015
Uno sguardo al futuro

## Slide 50: Il PRIN e il futuro di NA62
Finanziato un PRIN 2010-2012 per studiare le potenzialità di upgrade di NA62 su fascio neutro
Target dichiarato: KL->p0 nu nubar
  Necessità di un sostanziale rifacimento del detector (e.g.> 20 LAV)
Napoli ha proposto lo studio di KL->pi0 l+l-
  Meno “pulito” dal punto di vista teorico
  Si può fare (?) con NA62 “as is” (+ o -)
  Tesi magistrale M.B. Brunetti

## Slide 51: Motivazioni

## Slide 52: NA62 : strategie
LKr
S4
S3
S2
e-
Approx. 105 m
Approx. 183 m
Approx. 219 m
Approx. 242 m
S1
MNP33
Decay Volume
e+
LKr
S4
S3
S2
S1
MNP33
Blue tube:
Decay Volume
mu-
mu+
MUV1-3
Approx. 244 m
Approx. 219 m
Approx. 183 m
Approx. 242 m

## Slide 53: Yield atteso
Geometrical acceptance efficiency:
  KL→π0e+e-: (6.5 ± 0.9) x 10-2
  KL→π0μ+μ-: (14.1 ± 1.3) x 10-2
0.9 × 1012 KL/year (Extrapolated from studies for NA48)
Using SM BR:
  KL→π0e+e- : 1.7 ev/year
  KL→π0μ+μ-: 0.5-1.3 ev/year

## Slide 54: UN PossibilE Upgrade: MAGNETO

## Slide 55: Conclusioni
Il 2014 è stato un anno cruciale per NA62
Siamo estremamente soddisfatti delle prestazioni del CHANTI, il rivelatore ha funzionato fin dal primo momento secondo le attese ( o meglio…)
Il 2015 ci farà capire le prospettive di realizzare il goal di NA62 prima di LS2
Si comincia a pensare al futuro di medio e lungo termine, vedendo NA62 come una facility CERN per la fisica dei K.