## Slide 1
Gaspard-Hyde-Trace workshop 2015
Mechanics for test of Gaspard trapezoidal telescope
Orsay Tandem June 2015

## Slide 2
Trapezoidal Telescope
design (brief reminder)

## Slide 3
Trapezoidal silicon in the spherical chamber ( Gaspard )
8 trapezoidal silicon with 2 layers for backward side
8 trapezoidal silicon with 3 layers for forward side
7 rectangular central silicon with 2 layers
Radius spherical chamber : 225 mm

## Slide 4
Trapezoidal silicon 1st layer : thickness = 500 µ
Front face = 128 strips X , pitch = 0,816mm
Backward face = 128 strips Y ,pitch=0,71mm
Large flex
small flex
91,5 mm
25,3 mm
104,4 mm

## Slide 5
Trapezoidal silicon mechanical Kapton design for Gaspard
Large flex bended at 90°
small flex bended at 90°

## Slide 6
Design of the trapezoidal silicon
Angle between 2 external yellow plans = 45° (360° / 8 trapezoidal silicium) Keeping volume
Angle between 2 internal purple plans = 42,33° (acceptance in each direction)
Detail: purple plan tangent to the edge of the strips

## Slide 7
Design of the frame support silicium
Aluminum frame
Frame in the dead zone
3 spacers instead the layer 2

## Slide 8
General mounting
in Orsay Tandem
for june experiment

## Slide 9
Empereur Vacuum chamber CAD
Ø 890 mm
H = 366 mm

## Slide 10
Empereur Vacuum chamber in Orsay Tandem

## Slide 11
General view in Empereur Vacuum chamber
Beam
BB13 mounting
IPACI mounting

## Slide 12
Beam
BB13
IPACI
Edge of the chamber
General view in Empereur Vacuum chamber

## Slide 13
BB13 mounting

## Slide 14
Strips read on silicium for BB13 mounting
Strips 63,64,65,66
Strips 63,64,65,66
Strip 1
Strip 1
Strip 128
Strip 128
Mask: aluminum plate thickness 3mm with 1 hole
d = 4,2mm at the intersection of the strips

## Slide 15
Strips read on silicon for BB13 mounting
BB13 pcb cards and its cooling system (existing)
Part supporting silicon frame
silicon 1 pad
(50 x 50 mm x 500µ)
silicon 1 pad d= 30 mm ,thickness =40µ)
Mask

## Slide 16
Saver BB13 for large flex + wires
Saver BB13 for small flex + wires
Wire and flex connection on silicon for BB13 mounting

## Slide 17
IPACI mounting

## Slide 18
Strips read for silicon IPACI mounting
Strip 1
Strips 7,8,9
Strips 64,65,66
Strips 110,111,112
Strips 7,8,9
Strips 48,49,50
Strips 120,121,122
Mask: 5 holes
d = 4,2mm in Aluminum plate 3mm

## Slide 19
IPACI mounting
IPACI pcb cards
Aluminum box with tube for cooling system
Mask

## Slide 20
IPACI PCB ( cooling)
3 Hot area have to be cool on each side
Gap pad between aluminum box and hot components for heat conduction

## Slide 21
1) IPACI mounting
1 silicon 1 pad 50 x 50 x 500µ
3 silicons 1 pad
ø 12 x 3mm

## Slide 22
Shedule
- End of April : BB13 mecanics ready for a test with a source in Davy chamber
- Beginning of June : IPACI mecanics and Empereur device ready
- Mid June : Tandem experiment ready