## Slide 1: RIDOS
Simona Giordanengo
INFN Torino

## Slide 2
Comparison
FFP1 «measured» dose delivered with the ended spill
New DDS input creation and data transfer
On-line measured spot parameters
(0.01 ÷ 100 ms/spot,
100 byte/spot)
Patient positions deviations (∆X, ∆Y, ∆Z) +
Respiratory phase
(< 0.5 kB/measurement)
FFP2 «expected» dose delivered with the ended spill
GPU1
GPU2
Corrections computation for next spots (far from clinical application)
Results publication
DDS
OTS
Nparticles
Spot Positions (X,Y)iso
Monitor counts
(Xstrip, Ystrip)
Currents Ix, Iy
To remember:
DDS parameters translation for each spill
Max freq 1 kHz
< 1 MB/s
5 s
0
2.5 s
1 s
End of spill
Summary of the operations to perform in the inter-spill time
DDS and OTS parameters readout, translation and comunication (spot by spot)
< 10 MB/s
Start spill
FFP = Fast Forward Planning

## Slide 3
First GPU-based FP ready
Cut_off (mm) | N_Voxels | time gpu (sec) | time PlanKIT (sec) | Gain | C_grid | N of Rays | N of Slice
10 | 11200 | 1.9 | 40 | 21 | 170x170x125 | 1248 | 39
20 | 44678 | 1.9 | 157 | 83 | 170x170x125 | 1248 | 39
40 | 178702 | 2.17 | 636 | 293 | 170x170x125 | 1248 | 39
50 | 279243 | 2.6 | 997 | 383 | 170x170x125 | 1248 | 39
80 | 714861 | 3.87 | 2534 | 655 | 170x170x125 | 1248 | 39
Chart: Dose computation
| 11200 | 44678 | 178702 | 279243 | 714861
DEK times | 40 | 157 | 636 | 997 | 2534
GPU times | 1.9 | 1.9 | 2.17 | 2.6 | 3.87
Chart: Gain factor
| 11200 | 44678 | 178702 | 279243 | 714861
 | 21.0526 | 82.6316 | 293.0876 | 383.4615 | 654.7804
N_voxels
50000 s

## Slide 4
A1: Different upgrades underdevelopment
Main constraints and upgrades
Constraint of RIDOS_FP_1:
1. Max intercepts/ray = 1024 (sorting algorithm)  now unlimited
Upgrades to improve speed:
1. Ray Dose computation in parallel  done
2. Equal spaced computation grid  done (regular and irregular grids available)
Upgrades to improve accuracy:  work in progress
1. Different ions implementation
2. Sub-beams model
3a. Use of 4DCTs synchronized with the beam delivery and patient tracking
3b. Use of deformation vectors to compare the doses

## Slide 5: A3: RIDOS HW: defined and under construction
WS with 1 GPU TESLA K40
Ubuntu 14.04 (or Windows)
RIDOS CRATE (Simulatore + sist finale)
Additional RIDOS
FPGA NI 7813R PXI in DD crate
Ethernet connection
PCIe – PXIe interface to share memory
Syngo Treatment by Supervision System
Ethernet connection
Ethernet1
I-O vs DD FPGAs
DDS
20 MB/sec
I-O vs DD FPGAs
??
FPGAridos2
OTS data Max freq 1 kHz
FPGAridos1
VHDCI 68 pin
FPGA1 del DD
Ethernet2
PC in the LCRoom