## Slide 1
Paolo Finocchiaro, Luigi Cosentino, Alfio Pappalardo1,
Sergio Scirè2, Carlotta Scirè3, Gianfranco Vecchio4,
Carmela Greco5, Stefania Grillo5
INFN Laboratori Nazionali del Sud, Catania, Italy
Scadenza contratto Dicembre 2015, ha già contatti per lasciare i LNS
Scadenza assegno Giugno 2016
Ha lasciato i LNS, in forza all’INAF con borsa di studio
Solo consulenza, assegno LNS per controlli acceleratori in scadenza a Dicembre 2015
Laureate a Maggio 2015, non più ai LNS
RadSieve - sensori operativi per gestione e cernita di materiale radioattivo
HELNEM – rivelatori per neutroni termici
DMNR – sistema per monitoraggio online in tempo reale di rifiuti radioattivi

## Slide 2
DMNR system for radwaste storage real-time monitoring
Data
local
data
storage
remote
data
storage
Web
Data

## Slide 3
in collaboration with Ansaldo Nucleare
Detector Mesh for Nuclear Repositories
in collaboration with SOGIN
a prototype pallet installed in a storage site
2-year agreement renewal?
low-cost solution for granular online radwaste monitoring
DMNR system for radwaste storage real-time monitoring
collaboration with CAEN?
INFN now member of IGD-TP (Implementing Geological Disposal – Technology Platform)
NDA signed
INFN now member of JOPRAD (JOint Programming for RAdwaste Disposal)
EU lobby
EU lobby

## Slide 4
prototype: 12 fiber sensors installed (June 2014)
empty
with drums
first field tests extremely encouraging
sensitivity ≈ 0.01 µSv/h at 50 standard deviations

## Slide 5
Confidential

## Slide 6
First results

## Slide 7
mishandled computer by Sogin: crash!!!
S.S. & G.V. went to Sogin:
system restored
wrong operation again: computer death

## Slide 8
  Radwaste sorting table for decommissioning
  (Radwaste package fill optimization)
  (Radwaste drum rough characterization)
RadSieve
end of June:
meeting at LNS with ELSE Nuclear
NDA signed

## Slide 9
Sorting table for hot spots detection in decommissioning
RadSieve
patent in preparation

## Slide 10
table prototype
60 cm
prototype 60cm x 60cm
ready

## Slide 11
Test with a gamma source (22Na, 250 kBq)

## Slide 12
spent fuel monitoring
(P.Peerani, M.Galletta, Nuclear Engineering and Design 237 (2007) 94-99)
detection of possible diversion of fuel elements from Castor containers
preventing the smuggling of nuclear fuel
Collaboration with JRC & Euratom: neutron detection
(INFN patent pending RM2013A000254)
HELNEM
3HE-Less NEutron Monitors

## Slide 13
our idea: granular, real time, automatic
current monitoring method: video camera
ensuring continuity of knowledge

## Slide 14
easily integrated into the existing hardware and software architecture of DMNR:
electronics
data acquisition
system control
data logging
database handling
Graphical User Interface
wireless transmission
collaboration with JRC & Euratom...
real-time castor storage monitoring

## Slide 15
(0.025)
≈ 5330 b
available energy
0.76 MeV
no gamma rays
materials for thermal neutron conversion
perfect gas detector but... worldwide lack of 3He
3He
(0.025)
≈ 940 b
available E
4.78 MeV
6Li
new neutron detectors

## Slide 16
new neutron detectors
low cost
compact, robust, simple to use
detection efficiency comparable to 3He tube
10-6 neutron/gamma discrimination

## Slide 17
Si
Si
Si
Si
6LiF foil
n_TOF collaboration @ CERN
Si detector + 6LiF
SiMon2: neutron beam monitor for flux normalization
triton
alpha
gamma
5 min run
4He
3H
n
special thanks to A.Musumarra

## Slide 18
XY distribution
BeaMon: neutron beam characterization
high-quality results with n_TOF beam
Si detector + 6LiF
16+16 strip Si
6LiF foil
the test with AmBe source
the idea...
special thanks to A.Musumarra
real data

## Slide 19
Collaboration with CIVIDEC (Austria)
diamond detectors for thermal neutrons
outstanding results with the first tests at a reactor
3H, 4He
gamma
Samples already delivered and paid
Perfect test results
CIVIDEC purchased a few neutron converter samples from LNS. Possible mass production?
Ongoing collaboration with JRC & Euratom:
panels for neutron coincidence measurements
as possible 3He panels replacement
invitation to a JRC-DOE workshop, October 2014
21 detectors purchased by EURATOM
delivered to LNS

## Slide 20
3x3 base-tile assembling
back converters
front+back converter
back converter
LIN
front+back converter
back converter
LOG
detectors placed
front converters
α
t
α
t

## Slide 22
Comparison between a SiLiF neutron detector and 3He tubes
at INES (ISIS-RAL)
L.Cosentino, P.Finocchiaro, C.Marchetta, A.Pappalardo
INFN Laboratori Nazionali del Sud, Catania, Italy
F. Aliotta, T.Minniti, R.Ponterio, G.Salvato, C.Vasi
CNR-IPCF, Messina, Italy
A.Scherillo
STFC-ISIS, Rutherford Appleton Laboratory, Didcot, UK
SiLiF detector

## Slide 23
INES DAQ readout
rescaled per unit area and time
detected flux
3He/SiLiF = 4
beam target: copper rod
the resolution is apparently worse due to the wider angular coverage of SiLiF (3cm) vs 3He tube (1.25cm)

## Slide 24
new SiLiF detector configuration:
efficiency improved by a factor 7
(paper submitted to Rev. Sci. Instr.)
beam target: copper rod
detected flux 3He/SiLiF ≈ 4
SiLiF achieves the same (or better?) efficiency
as the 3He tubes of INES
technology much cheaper than 3He
flat detectors
efficiency evaluated analytically
fine position sensitivity (mm) already achieved with strips
coarse position sensitivity (cm) with pads
robust, low voltage, easily handled
implementation at ISIS and ESS ?
final demo-test at ISIS on 9-15 June 2015

## Slide 25
patent? YES
Scintillators
Patent Pending
RM2013A000254

## Slide 26
SiPM
SiPM
6LiF + Al wrap
25 x 3 x 1 mm3 CsI(Tl)
GEANT4
exp data

## Slide 27
Al wrap
CsI(Tl)
6LiF
SiPM
SiPM
GEANT4
exp data
2 mm

## Slide 28
Nuclear physics research
• Homeland security (nuclear material smuggling)
• Dosimetry
• Radwaste monitoring
• Spent fuel handling and storage monitoring
• Neutron beam science
• other...
outlook: application fields
ongoing developments
Plastic scintillators: promising results coming soon

## Slide 29
collaboration with ESS Italy?
collaboration with LUNA?
pending collaboration issues
collaboration with SCIONIX?
collaboration with SITAEL?
collaboration with CIVIDEC (converters sold)
collaboration with CERN (converters sold)
NDA signed
NDA signed
collaboration with CNR-IPCF

## Slide 30
C.Greco, upper level (master) Thesis (2015)
S.Grillo, upper level (master) Thesis (2015)
R.Alvano, upper level (master) thesis (2014)
L.Russo, upper level (master) Thesis (2013)
F.Oliveri, first level Thesis (2013)
L.Curcuruto, upper level (master) Thesis (2012)
M.Campione, upper level (master) Thesis (2012)
S.Scirè, upper level (master) Thesis (2012)
C.Greco, first level Thesis (2011)
S.Grillo, first level Thesis (2011)
C.Scirè, upper level (master) Thesis (2011)
V.Finocchiaro, first level Thesis (2011)
G.Guardo, upper level (master) Thesis (2011)
V.Febbraro, upper level (master) Thesis (2009)
S.Scirè, LNS Stage final report (2009)
G.Greco, upper level (master) Thesis (2009)
M.Barbagallo, upper level (master) Thesis (2009)
theses
scientific production ≈ 80
invited papers
invited book chapters
patents
peer reviewed journals
invited talks
conference contributions
student awards

## Slide 31
IV SNRI
Seminario Nazionale Rivelatori Innovativi
INFN LNS e Sez. di Catania
10-14 Novembre 2014
1 lab exercise on DMNR sensors
1 lab exercise on HELNEM sensors
highly positive feedback
(anonymous questionnaires)

## Slide 32
Miniradmeter: a miniature detector for gamma rays
G.Alimonti (INFN-MI), P.Finocchiaro, A.Pappalardo, S.Scirè

## Slide 33
possible step-up: a cheap and performing personal detector
current version
Gamma spectrum
with 137Cs source
FWHM 10% @662keV
minimum overall detector size ≈ 5mm x 5mm x 5mm
the rest is battery, discrete components electronics
could be integrated inside a mobile phone or tablet
collaboration with ST?
NDA signed
collaboration with CAEN?
NDA signed