## Slide 1: MC-INFN: Geant4 e applicazioni in fisica medica
Barbara Caccia
Centro Nazionale per la Protezione dalle Radiazioni e Fisica Computazionale Istituto Superiore di Sanità
&
INFN - Roma1

## Slide 2: Istituto Superiore di Sanità
Promozione e tutela della salute pubblica nazionale attraverso attività di
ricerca, sorveglianza, regolazione, prevenzione, comunicazione e formazione.

## Slide 3: Istituto Superiore di Sanità & la Fisica
1934
Il 21 aprile viene inaugurato l'Istituto di Sanità Pubblica che "con sede a Roma, opera al servizio del Ministero dell'Interno come centro di ricerca, indagini e accertamenti riguardanti i servizi per la pubblica sanità e per la specializzazione del personale del suddetto servizio nel Regno".
1935
L'Ufficio del Radio, presso cui lavoravano, guidati da Enrico Fermi, Franco Rasetti, Emilio Segrè, Edoardo Amaldi e Bruno Pontecorvo, si trasferisce da via Panisperna all'Istituto di Sanità Pubblica. L’Ufficio del Radio era incaricato del controllo e della calibrazione dei preparati di radio usati in medicina e della loro distribuzione agli ospedali.
Al momento della sua inaugurazione l’Istituto di Sanità Pubblica era costituito da quattro Laboratori: Chimica, Fisica, Malariologia e Microbiologia.

## Slide 4: Istituto Superiore di Sanità & INFN
1951 - 2015
Nel 1951 nasce l’Istituto Nazionale di Fisica Nucleare. Nel 1957 viene aperta una sua sezione presso il Laboratorio di Fisica dell’Istituto Superiore di Sanità, poi Gruppo Collegato Sanità.
Temi attuali di collaborazione tra ISS e INFN
ISS e INFN collaborano in modo sinergico (per ricerca e formazione) su: Fisica nucleare, radioprotezione, neuroscienze, fisica computazionale per applicazioni mediche, dosimetria delle radiazioni, radiobiologia, tecnologie fisiche per la salute, …

## Slide 5: MC-INFN: Geant4 e applicazioni in fisica medica
MonteCarlo-INFN nasce in Commissione V nel 2012.
Raggruppa le attività di sviluppo e mantenimento dei codici MC in cui c’è forte partecipazione INFN (FLUKA e GEANT4) e inquadra la loro partecipazione alle rispettive collaborazioni internazionali e ad eventuali annessi progetti europei.
Sezioni e Lab partecipanti:
Laboratori Nazionali del Sud, Milano, Roma II, Pavia, Ferrara, Roma I (in particolare ex-gruppo collegato Sanità), Napoli (in ingresso probabilmente da quest’anno)
Peculiarità del progetto è la forte trasversalità che tende a coinvolgere altre sezioni/esperimenti

## Slide 6: The FLUKA International Collaboration
C. Bahamonde, M.I. Besana, M. Brugger, F. Cerutti, R. Dos Santos, L. Esposito, Alfredo Ferrari, R. Garcia Alia, W.Kozlowska, A. Lechner, M.Magistris, A. Mereghetti, E. Nowak, S. Roesler, F. Salvat-Pujol, E. Skordis, G. Smirnov, C. Theis, A. Tsinganis, Heinz Vincke, Helmut Vincke, V. Vlachoudis, J.Vollaire CERN
G. Battistoni, F. Broggi, M. Campanella, I. Mattei, S. Muraro, P.R. Sala, INFN. Milano, Italy N. Mazziotta , INFN Bari, Italy A. Margiotta, INFN & Univ. Bologna, Italy M.C. Morone, Univ. Roma II, Italy L. Sarchiapone, INFN Legnaro, Italy,
F. Ballarini, E. Bellinzona, M. Carante, A. Embriaco, A. Fontana, INFN & Univ. Pavia, Italy
V. Patera, S. Pioli INFN Frascati & Univ. Roma I , Italy M. Pelliccioni, A. Mairani, G. Magro CNAO Pavia, Italy
P. Degtiarenko, G. Kharashvili, JLab, USA M. Santana, SLAC, USA L. Lari ,FNAL USA A. Empl, S. Hoang, M. Kroupa, J. Idarraga, L. Pinsky, Univ. of Houston, USA K.T. Lee, B. Reddell, E. Semones, N. Stoffle, N. Zapp, NASA, Houston, USA A.Bahadori Kansas Univ. USA S. Trovati, Stanford Univ. USA M. Nozar, A. Trudel, M. Trinczec TRIUMF, Canada
K. Parodi, I. Rinaldi, LMU Munich, Germany Anna Ferrari, S. Mueller HZDR Rossendorf, Germany
A. Fedynitch DESY Zeuthen, Germany
P.G. Ortega Spain M. Chin, Malaysia
I. Rinaldi, INP Lyon, France F. Belloni CEA, France
T.J. Dahle, A. Rorvik, K. Ytre-Hauge , Bergen Univ., Norway M. Lantz, Uppsala Univ., Sweden
F. Fiorini, Oxford Inst. Rad. Oncol., UK
T. T. Boehlen, Medaustron , Austria S. Rollet, AIT, Austria
C. Cuccagna, TERA Switzerland T. Miranda Lima Kantonhospital Aarau, Switzerland
S. Brechet, L. Morejon, N. Shetty, R. Versaci, ELI-Beamlines, Prague, CR
P. Colleoni, Ospedali Riuniti di Bergamo, Italy
A. Fassò, M.V. Garzelli, E. Gadioli, J. Ranft.

## Slide 7: MC-INFN_Geant4
Developed by an International Collaboration (first public release in 1998)
  Approximately 100 members, from Europe, US and Japan
  http://geant4.cern.ch
Written in C++ language
Open source
Typically two releases per year
  Major release, minor release, beta release

## Slide 8: MC-INFN Progetti *speciali* (2 Grant giovani di CN V)
GeCo - Geant4 Crystal Objects (Enrico Bagli)
Geant4 + Crystal Objects = the exploration of the impact of solid
state effects on existing simulations
With the GECO project a user will be able to use a crystal structure in Geant4. Therefore, it will be possible to add physical processes related to crystals.
Geniale: Geant4 Nuclear Interaction At Low Energy (Carlo Mancini Terracciano)
Benchmark and improve the capacity of Geant4 to simulate nuclear fragmentation in the energy range below 100 MeV/A
Implementation in Geant4 of a new model for the first stage of the interaction between a hadron -or a nucleus- and a target nucleus.
Coupling with the models already implemented in Geant4 for the second stage, and with the Geant4 framework in general.
Geniale
Notes: With the GECO project a user will be able to use a crystal structure in Geant4. Therefore, it will be possible to add physical processes related to crystals.

## Slide 9: MC-INFN_Geant4 news
Last version: Geant4 10.3
  Released December 9th, 2016
  Now patch 10.3.p01 (February 24th, 2017)
Further pursues the multi-thread approach
  Sharing of physics tables to save memory
  Many small bug fixes and performance improvements
The new developments are backwards compatible with the sequential mode

## Slide 10: Geant4 Collaboration
Collaborators also from non-member institutions, including
Budker Inst. of Physics
IHEP Protvino
MEPHI Moscow
Pittsburg University
Lebedev
TRIUMF
J.W.Goethe Universität

## Slide 11: MC-INFN_Geant4 collaboration papers
First two collaboration papers (2003 and 2006), very much cited
3
98 authors, 10 INFN
Notes: Third collaboration paper meant to provide a reference for developments 2006-2012 (excl. the MT capabilities), i.e. 8.0  9.6

## Slide 12: MC-INFN_Geant4
Linear accelerator simulation

## Slide 13: MC-INFN_Geant4
Linear accelerator simulation
Advanced examples
coordinator: L.Pandola (INFN-LNS)
deputy: F.Romano (INFN-LNS)
Two-year term 2016-2017 (new elections next year)
15 members (1.5 FTU in census 2017)
21 examples (some examples moved to extended/ since version 10.2
https://twiki.cern.ch/twiki/bin/view/Geant4/AdvancedExamples

## Slide 14: MC-INFN_Geant4_medical applications
Linear accelerator simulation
Medical Physics applications
Physics, geometry and tracking
Navigation and DICOM
Physics
Biasing
CPU performance
Reverse Monte Carlo
Interfaces (phase spaces, anatomy/dose rendering)
Radiology
CT
Proton CT
Geant4 Application for Emission Tomography (GATE)
fGATE
Radiotherapy
External electrons
External photons
Proton and heavy ion therapy
Brachytherapy
g4beamline
Therapeutic Irradiation Simulator (ThIS) home page
Microdosimetry
G4DNA
Geant4-DNA project
G4MED (in Japanese)
Geant4 Medical Physics in Japan
G4NAMU
Geant4 North American Medical User Organization
GAMOS
Geant4-based Architecture for Medicine-Oriented Simulations
GATE
Geant4 Application for Tomographic Emission
GHOST
Geant4 Human Oncology Simulation Tool

## Slide 15: MC-INFN_Geant4_medical applications
Linear accelerator simulation
Medical Physics applications
Physics, geometry and tracking
Navigation and DICOM
Physics
Biasing
CPU performance
Reverse Monte Carlo
Interfaces (phase spaces, anatomy/dose rendering)
Radiology
CT
Proton CT
Geant4 Application for Emission Tomography (GATE)
fGATE
Radiotherapy
External electrons
External photons
Proton and heavy ion therapy
Brachytherapy
g4beamline
Therapeutic Irradiation Simulator (ThIS) home page
Microdosimetry
G4DNA
Geant4-DNA project
G4MED (in Japanese)
Geant4 Medical Physics in Japan
G4NAMU
Geant4 North American Medical User Organization
GAMOS
Geant4-based Architecture for Medicine-Oriented Simulations
GATE
Geant4 Application for Tomographic Emission
GHOST
Geant4 Human Oncology Simulation Tool

## Slide 16
2016 IAEA Scientific Forum – Nuclear Technology for Sustainable Development Goals
International Atomic Energy Agency
50% of all cancer patients globally require radiotherapy
The cancer epidemic will lead to a substantial increase in
radiotherapy indications from 7 to 12 million by 2035
• Radiotherapy is a critical and inseparable component of
comprehensive cancer treatment. It is an effective
treatment modality providing 2.5 million local controls and
saving 1 million life years each year.
(Mary Gospodarowicz MD
Princess Margaret Cancer Centre, University of Toronto
Union for International Cancer Control – IAEA2016)

## Slide 17
2016 IAEA Scientific Forum – Nuclear Technology for Sustainable Development Goals
International Atomic Energy Agency
Monte Carlo Simulation in Treatment Planning for Radiation Oncology
It is necessary to have an accurate method for predicting the dose distribution
Flight simulator
Can be used at will
Never fails
Trains pilots effectively before the first flight in whatever flying conditions
No danger no risk

## Slide 18: MC-INFN_Geant4_medical applications
Monte Carlo Simulation in Treatment Planning for Radiation Oncology
In radiotherapy, the dose delivered to patients needs to be determined before the treatment.
Therefore, it is necessary to have an accurate method for predicting the dose distribution. In the situations where inhomogeneity and lateral electron disequilibrium occur, especially in small field sizes, lead to about 3% to 10% error.
For these situations, Monte Carlo Simulation (MCS) has been proposed to give the most accurate solution.

## Slide 19: MC-INFN_Geant4 Medical applications Bremsstrahlung
The simulation of the bremsstrahlung emission is especially relevant in medical physics applications, where the clinical X-ray beams are produced by electrons of kinetic energies between 10 keV and 50 MeV decelerated in metallic targets.
A fraction of the electrons kinetic energy is transformed in the target into heat,
and a fraction of the energy is emitted in the form of bremsstrahlung photons.

## Slide 20: MC-INFN_Geant4 Medical applications Bremsstrahlung
45°
Elettroni
70keV
Al, Pb, W, Ag
Al, Fe
Elettroni
0.5-2.8MeV
0°-150°
Validazione con dati sperimentali di modelli di bremsstrahlung in Geant4
Lavoro in collaborazione ISS-LNGS-LNS
sezioni d’urto differenziali (E,Ω) e doppio differenziali
bersagli spessi
intero range di Z

## Slide 21: MC-INFN_Geant4 Medical applications Bremsstrahlung
Absolute energy spectra of photons emitted by electrons of three different energies on iron targets.
Geant4 with Penelope model.
Notes: Absolute energy spectra of photons emitted by electrons of 0.5 MeV (left), 1.0 MeV (middle) and 2.8 MeV (right) on iron targets, at different angles between 0 and
150. Circles are experimental data from Dance et al. and solid histograms are the GEANT4 simulations obtained with the Penelope model. Some sets of data points are shown
as empty circles for visual clarity. The thickness of the targets is 0.257 g/cm2 (0.5 MeV beam), 0.613 g/cm2 (1.0 MeV beam) and 2.31 g/cm2 (2.8 MeV beam).
0 k/

## Slide 22: MC-INFN_Geant4 Medical applications Tomotherapy example
Helical Tomotherapy: a Geant4 computational model as a tool
for 3D dose distribution evaluation.
Collaboration: ISS + some Italian oncological hospitals for MC_INFN

## Slide 23
Physics |  |  |  | 
Physics | World Cut | Primary e- Energy | Primary e- Direction | Dim. e- source
Standard_em_option_3 | 0.1 mm | (5.7 ± 0.2) MeV | Θ = (0±1.5)° | 1.5mm
The Phantom | 
Dimensions (cm3) | Material
60x30x30 | G4_WATER
voxels | Cut
120x60x60 | 0.01 mm Gamma  990eV e- 14.09 keV e+  14.09 keV
Experimental data provided by A.O. S.Camillo – Roma - Italy

## Slide 24: MC-INFN_Geant4 Medical applications Tomotherapy example
In the Helical Tomotherapy unit the tungsten target suffers from wear effects and needs periodic replacement.
Ratio between the primary particles and the number of produced photons as a function of the energy for varying target thickness.

## Slide 25: MC-INFN_Geant4 Medical applications Tomotherapy example
TPS calculation
Geant4 calculation
Full GEANT4 simulation of TomoTherapy unit for clinical application:
a computational tool for the verification of the 3D dose distribution for a Quality Assurance Program.

## Slide 26: MC-INFN_Geant4 Medical applications beam monitor@CNAO (by Adele Rimoldi and collaborators)
Geant4 simulation and measuments of the GEMPix detectors as beam monitor at CNAO
3D view
phantom + GEMPix
CNAO Beam
Dose delivery chambers
Vacuum
Beam Pipe
PTW PMMA water phantom
GEMPix active area
PMMA box for GEMPix
z
x
y

## Slide 27: MC-INFN_Geant4 Medical applications Hadrontherapy@LNS

## Slide 28: MC-INFN_Geant4 Medical applications fragmentation for heavy ion therapy

## Slide 29: MC-INFN_Geant4 Medical applications fragmentation for heavy ion therapy
The accuracy of different fragmentation models in Geant4 where benchmarked for a 400MeV/u 12C beam
Experimental data:
  Fragmentation study of a 400MeV/u 12C pencil beam (FWHM 5mm) studied at GSI
  Bragg Curve, fragment yields, angular and energy distribution of fragments
Alternative approaches investigated
  BIC, QMD, INCL
Notes: Nuclear fragmentation measurements are necessary when using heavy-ion beams in hadrontherapy to predict the effects of the ion nuclear interactions within the human body. Moreover, they are also fundamental to validate and improve the Monte Carlo codes for their use in planning tumor treatments

## Slide 30: MC-INFN_Geant4 Medical applications fragmentation for heavy ion therapy
Fragment Yields
Haettner et al 2013

## Slide 31: Council Directive 2013/59/Euratom
Nuovi scenari e settori di applicazione si preparano per la dosimetria computazionale e l’uso di tecniche di simulazione numerica per la fisica medica e la radioprotezione

## Slide 32: Council Directive 2013/59/Euratom
"Therefore, computational methods need to be further developed and connected to the results of corresponding research on measurements and calibration procedures" (Insights Imaging 2017, Feb 15)

## Slide 33: Next Collaboration Meeting + User workshop
Geant4 Collaboration meeting 2017
  Hosted by Susanna Guatelli (University of Wollongong, Australia),
  Sept. 25th-29th, 2017
    Restricted to Collaboration members, as usual
  Coupled to a Geant4 User Workshop (Sep 20th- 22nd)
    Call for abstract and user contributions
  http://geant4workshop-2017.com/

## Slide 34: Next Collaboration Meeting + User workshop
B.Caccia, ISS – Workshop CCR, LNGS, 22-26 Maggio 2017

## Slide 35: Ringraziamenti
Hanno contribuito a questa presentazione i colleghi e le colleghe della collaborazione italiana di Geant4 all’interno del progetto MC-INFN, in particolare Pablo Cirrone,Luciano Pandola (LNS-INFN), Adele Rimoldi (Univ.Pavia) ma anche Susanna Guatelli (Università di Wollongong).
Grazie a voi per l’attenzione.
Museo di Sanità Pubblica dell'Istituto Superiore di Sanità – 21 aprile 2017

## Slide 37: Main developments
Toolkit in a "stationary" status
  Mostly mantainance, but still a few active development topics
Kernel
  Improve MT performance (memory footprint, locks), etc.
  Handling of crystalline materials ( GECO)
  Biasing
Physics
  ParticleHP. Extension of NeutronHP, data-driven cross sections and final states for other particles (p, t, α and 3He)
  Radioactive Decay. Completely reviewed (long-standing bugs)
  Geant4-DNA
  Coulomb scattering (single and multiple)
g4analysis (built-in analysis tools)
(Some) examples